## Sheet1
Part Number | Part Number | Description | Price | Discount | VDOT Price
000081673 | 008-167-3 | Body, 6" PET Siphon Inj | 75 | 3.75 | 71.25
000081681 | 008-168-1 | Junction Box with cover | 370 | 18.5 | 351.5
000082021 | 008-202-1 | Terminal Block | 16 | 0.8 | 15.2
000110851 | 011-085-1 | Capacitor 200A1-CB Starter Capacitor for P200H1CB | 129 | 6.45 | 122.55
000131471 | 013-147-1 | 1 1/4 galv. Steel conduit (12 length) | 61 | 3.05 | 57.95
000143013 | 014-301-3 | Door Cover | 39 | 1.95 | 37.05
000147231 | 014-723-1 | Magnetic Contactor (for 008800415, 008800455, 008800465) | 156 | 7.8 | 148.2
000175265 | 017-526-5 | Adjustable Functional Element Diaphragm – GFLT | 167 | 8.35 | 158.65
000175731 | 017-573-1 | Diaphragm, Expansion Relief | 167 | 8.35 | 158.65
000261101 | 026-110-1 | Spare Lock Washer 3/8 (need 4 per discharge head) (Price is for qty of 1/ea) | 5 | 0.25 | 4.75
000261811 | 026-181-1 | Screw, Hex Head, Junction Box | 4 | 0.2 | 3.8
000261841 | 026-184-1 | Spare Bolt, 3/8-16X2 1/4 Hex (need 4 per discharge head) (Price is for qty of 1/ea) | 5 | 0.25 | 4.75
000261981 | 026-198-1 | Manifold Screw, (3/4-10x1 3/4) (4 required) | 12 | 0.6 | 11.4
000262191 | 026-219-1 | Cap Screw (3/4 - 16x3/8) (2 required) | 12 | 0.6 | 11.4
000264481 | 026-448-1 | Set Screw, 1/4-20X3/8 (need 2 per discharge head) (Price is for qty of 1/ea) | 5 | 0.25 | 4.75
000266271 | 026-627-1 | Screw, 1/4-20 X 1/2 Pan SST | 4 | 0.2 | 3.8
000267501 | 026-750-1 | Bolt, Hex 1/2 - 13 x 1 1/2 (6 required) | 14 | 0.7 | 13.3
000267571 | 026-757-1 | Bolt, Hex 1/2 - 13 x 1 (4 required) | 14 | 0.7 | 13.3
000267591 | 026-759-1 | Bolt, Hex 3/4 - 10 x 1 3/4 (3 required) | 16 | 0.8 | 15.2
000270651 | 027-065-1 | Fitting, Bush 3/4 NPT-1/4 NPT ZN | 5 | 0.25 | 4.75
000271763 | 027-176-3 | Plug, Conduit Junction Box, 2 NPT | 24 | 1.2 | 22.8
000272401 | 027-240-1 | Plug Square 1/4 NPT | 4 | 0.2 | 3.8
000272741 | 027-274-1 | Brass Fittings | 50 | 2.5 | 47.5
000272761 | 027-276-1 | Fitting Tube (2 required) | 50 | 2.5 | 47.5
000281251 | 028-125-1 | Flange 3 (2 required) | 130 | 6.5 | 123.5
000310971 | 031-097-1 | Gasket, 6" PET Siphon Pipe for Gas | 27 | 1.35 | 25.65
000311051 | 031-105-1 | Gasket, 6" PET WL SL "Inner" | 12 | 0.6 | 11.4
000311061 | 031-106-1 | Gasket, 6" PET WL SL "Outer" | 45 | 2.25 | 42.75
000311071 | 031-107-1 | Gasket, 6" PET WL SL with Manifold holes | 4 | 0.2 | 3.8
000311081 | 031-108-1 | Gasket, manifold to riser flange | 33 | 1.65 | 31.35
000311361 | 031-136-1 | Gasket, 4” Pump | 14 | 0.7 | 13.3
000312451 | 031-245-1 | 3 Flange Gasket (2 required) | 25 | 1.25 | 23.75
000313281 | 031-328-1 | Gasket, Bolt | 4 | 0.2 | 3.8
000313341 | 031-334-1 | Gasket Flange | 73 | 3.65 | 69.35
000360433 | 036-043-3 | 6 Discharge Head Pet (Gasket comes with motor) | 241 | 12.05 | 228.95
000360641 | 036-064-1 | Handle, 4PET eyebolt | 12 | 0.6 | 11.4
000364701 | 036-470-1 | Handle, Lifting (2 required) | 127 | 6.35 | 120.65
000380725 | 038-072-5 | Leak Detector Housing (T-adapter) | 87 | 4.35 | 82.65
000422233 | 042-223-3 | Standard Finals built with 2 NPT Floating Suction Adapter (add) | 224 | 11.2 | 212.8
000580291 | 058-029-1 | Nozzle, Siphon 6" PET | 58 | 2.9 | 55.1
000600481 | 060-048-1 | Nut, Packing, Hex | 25 | 1.25 | 23.75
000600571 | 060-057-1 | Packing nut, conduit | 60 | 3 | 57
000651173 | 065-117-3 | Riser, 4" diameter, 7 1/2" * | 143 | 7.15 | 135.85
000651183 | 065-118-3 | Riser, 4" diameter, 8 1/2" | 183 | 9.15 | 173.85
000651193 | 065-119-3 | Riser, 4" diameter, 9 1/2" | 180 | 9 | 171
000651203 | 065-120-3 | Riser, 4" diameter, 11 1/2" | 180 | 9 | 171
000651213 | 065-121-3 | Riser, 4" diameter, 15 1/2" * | 143 | 7.15 | 135.85
000651223 | 065-122-3 | Riser, 4" diameter, 16 1/2" | 212 | 10.6 | 201.4
000651233 | 065-123-3 | Riser, 4" diameter, 17 1/2" | 216 | 10.8 | 205.2
000651243 | 065-124-3 | Riser, 4" diameter, 21 1/2" | 212 | 10.6 | 201.4
000651253 | 065-125-3 | Riser, 4" diameter, 23 1/2" | 212 | 10.6 | 201.4
000651263 | 065-126-3 | Riser, 4" diameter, 27 1/2" * | 143 | 7.15 | 135.85
000651273 | 065-127-3 | Riser, 4" diameter, 28 1/2" | 174 | 8.7 | 165.3
000651283 | 065-128-3 | Riser, 4" diameter, 29 1/2" | 174 | 8.7 | 165.3
000651293 | 065-129-3 | Riser, 4" diameter, 33 1/2" | 223 | 11.15 | 211.85
000651303 | 065-130-3 | Riser, 4" diameter, 35 1/2" | 272 | 13.6 | 258.4
000651313 | 065-131-3 | Riser, 4" diameter, 39 1/2" | 223 | 11.15 | 211.85
000651323 | 065-132-3 | Riser, 4" diameter, 40 1/2" | 272 | 13.6 | 258.4
000651333 | 065-133-3 | Riser, 4" diameter, 41 1/2" | 223 | 11.15 | 211.85
000651603 | 065-160-3 | Riser, 4" diameter, 19 1/2" * | 143 | 7.15 | 135.85
000651613 | 065-161-3 | Riser, 4" diameter, 20 1/2" | 174 | 8.7 | 165.3
000651623 | 065-162-3 | Riser, 4" diameter, 31 1/2" | 223 | 11.15 | 211.85
000651633 | 065-163-3 | Riser, 4" diameter, 32 1/2" | 223 | 11.15 | 211.85
000651653 | 065-165-3 | Riser, 4" diameter, 13 1/2" | 212 | 10.6 | 201.4
000651663 | 065-166-3 | Riser, 4" diameter, 25 1/2" | 212 | 10.6 | 201.4
000651673 | 065-167-3 | Riser, 4" diameter, 37 1/2" | 223 | 11.15 | 211.85
000651873 | 065-187-3 | Riser, 4" diameter, 53 1/2" | 223 | 11.15 | 211.85
000651943 | 065-194-3 | Riser, 4" diameter, 45 1/2" | 223 | 11.15 | 211.85
000651983 | 065-198-3 | Riser, 4" diameter, 42 1/2" | 223 | 11.15 | 211.85
000652033 | 065-203-3 | Riser, 4" diameter, 49 1/2" | 223 | 11.15 | 211.85
000652473 | 065-247-3 | Riser, 4" diameter, 50 1/2" | 223 | 11.15 | 211.85
000652603 | 065-260-3 | Riser, 4" diameter, 22 1/2" | 174 | 8.7 | 165.3
000652653 | 065-265-3 | Riser, 4" diameter, 47 1/2" | 223 | 11.15 | 211.85
000652893 | 065-289-3 | Riser, 4" diameter, 4 1/2" | 189 | 9.45 | 179.55
000652993 | 065-299-3 | Riser, 4" diameter, 6 1/2" | 183 | 9.15 | 173.85
000653003 | 065-300-3 | Riser, 4" diameter, 10 1/2" * | 143 | 7.15 | 135.85
000653013 | 065-301-3 | Riser, 4" diameter, 14 1/2" | 196 | 9.8 | 186.2
000653023 | 065-302-3 | Riser, 4" diameter, 18 1/2" | 180 | 9 | 171
000653033 | 065-303-3 | Riser, 4" diameter, 26 1/2" | 174 | 8.7 | 165.3
000653043 | 065-304-3 | Riser, 4" diameter, 30 1/2" | 272 | 13.6 | 258.4
000653053 | 065-305-3 | Riser, 4" diameter, 34 1/2" | 223 | 11.15 | 211.85
000653063 | 065-306-3 | Riser, 4" diameter, 38 1/2" | 223 | 11.15 | 211.85
000653073 | 065-307-3 | Riser, 4" diameter, 12 1/2" * | 143 | 7.15 | 135.85
000653083 | 065-308-3 | Riser, 4" diameter, 24 1/2" | 180 | 9 | 171
000653093 | 065-309-3 | Riser, 4" diameter, 36 1/2" | 234 | 11.7 | 222.3
000653103 | 065-310-3 | Riser, 4" diameter, 44 1/2" | 223 | 11.15 | 211.85
000653193 | 065-319-3 | Riser, 4" diameter, 51 1/2" | 223 | 11.15 | 211.85
000654463 | 065-446-3 | Riser, 4" diameter, 5 1/2" | 177 | 8.85 | 168.15
000657833 | 065-783-3 | Riser, 4" diameter, 55 1/2" | 223 | 11.15 | 211.85
000657983 | 065-798-3 | Riser, 4" diameter, spec. length, (price varies w/size) | 0 | 0 | 0
000672781 | 067-278-1 | Poppet, Check Valve | 181 | 9.05 | 171.95
000710471 | 071-047-1 | Relay, Franklin Mtr St (for 008800565 & 008800575) | 104 | 5.2 | 98.8
000721041 | 072-104-1 | O-ring, conduit seal (2 required) | 5 | 0.25 | 4.75
000721071 | 072-107-1 | O-ring, -236 Buna, Check Valve Seat | 5 | 0.25 | 4.75
000721081 | 072-108-1 | O-ring, packer assembly (3 required) | 17 | 0.85 | 16.15
000721101 | 072-110-1 | O-ring, -114 Buna, Nozzle | 4 | 0.2 | 3.8
000721293 | 072-129-3 | Ring, 6" PET Packer Brass | 14 | 0.7 | 13.3
000721901 | 072-190-1 | Capacitor Cover O-ring (-233) (Petroleum) | 4 | 0.2 | 3.8
000721931 | 072-193-1 | O-ring, Connector Yoke, 7/8 | 5 | 0.25 | 4.75
000722405 | 072-240-5 | O-ring, Pacman .210 | 16 | 0.8 | 15.2
000723091 | 072-309-1 | O-ring, 225 Viton V75 | 5 | 0.25 | 4.75
000725411 | 072-541-1 | O-ring, yoke, -118 Viton V121 | 5 | 0.25 | 4.75
000725431 | 072-543-1 | Capacitor Cover O-ring (-233) (old style AG) | 18 | 0.9 | 17.1
000725781 | 072-578-1 | O-ring | 12 | 0.6 | 11.4
000726421 | 072-642-1 | Guide Bushing O-ring (-112) Extract Head Flange | 12 | 0.6 | 11.4
000726861 | 072-686-1 | O-ring (-228) (used on 2” plug; Item 9) | 52 | 2.6 | 49.4
000726891 | 072-689-1 | Internal Retaining Ring | 17 | 0.85 | 16.15
000726951 | 072-695-1 | O-ring (-366) | 294 | 14.7 | 279.3
000726961 | 072-696-1 | O-ring (-439) | 386 | 19.3 | 366.7
000726971 | 072-697-1 | External Retaining Ring | 16 | 0.8 | 15.2
000726991 | 072-699-1 | O-ring -240 Viton V75 Check Valve | 26 | 1.3 | 24.7
000727001 | 072-700-1 | O-ring (-223) | 5 | 0.25 | 4.75
000727121 | 072-712-1 | O-ring -218 Viton V75 | 16 | 0.8 | 15.2
000727141 | 072-714-1 | O-ring -255 Viton V75 | 33 | 1.65 | 31.35
000727181 | 072-718-1 | O-ring, Packer Manifold, 7 1/2 Viton (-443) | 80 | 4 | 76
000760853 | 076-085-3 | Seat, 6 PET Check Valve | 126 | 6.3 | 119.7
000763805 | 076-380-5 | Seal, Pacman, .210, PGK GFLT Viton | 55 | 2.75 | 52.25
000785223 | 078-522-3 | Conduit Sleeve | 58 | 2.9 | 55.1
000791491 | 079-149-1 | Spring, Check Valve | 4 | 0.2 | 3.8
000791611 | 079-161-1 | Spring, 6 PET Check Valve | 8 | 0.4 | 7.6
000794251 | 079-425-1 | Line Contactor Relay, 120 Volt | 119 | 5.95 | 113.05
000808581 | 080-858-1 | Toggle Switch (for 008800415, 008800455, 008800465) | 84 | 4.2 | 79.8
000814971 | 081-497-1 | Tubing, Coiled, 3/8 OD x 18' | 7 | 0.35 | 6.65
000853301 | 085-330-1 | Vent tubing | 7 | 0.35 | 6.65
000860101 | 086-010-1 | Line Steel Vent | 241 | 12.05 | 228.95
001010545 | 101-054-5 | Accumulator Assembly | 813 | 40.65 | 772.35
001084965 | 108-496-5 | Conduit Junction Box, single opening, 2 NPT (2 wire) | 147 | 7.35 | 139.65
001100385 | 110-038-5 | Conduit seal assy (5 wire) | 147 | 7.35 | 139.65
001100645 | 110-064-5 | Conduit Box & Yoke Assembly - 5 Wire | 3108 | 155.4 | 2952.6
001110654 | 111-065-4 | Cap & Stem assembly for check valve | 126 | 6.3 | 119.7
001110925 | 111-092-5 | Capacitor,17.5 MFD (for .33 & .75 HP single phase motors)(for 008800455) | 143 | 7.15 | 135.85
001116615 | 111-661-5 | Capacitor, 25 MFD (for 1.5 HP single phase motor)(for 008800465) | 164 | 8.2 | 155.8
001116905 | 111-690-5 | 50 MFD Capacitor (for IQ box w/ 2HP capacitor) | 229 | 11.45 | 217.55
001130845 | 113-084-5 | Capacitor Cover, P33R1, with O-ring * | 82 | 4.1 | 77.9
001130855 | 113-085-5 | Capacitor Cover, P75S1, with O-ring * | 80 | 4 | 76
001130985 | 113-098-5 | Capacitor Clip | 16 | 0.8 | 15.2
001133195 | 113-319-5 | Capacitor Cover, P150S1, with O-ring * | 80 | 4 | 76
001135365 | 113-536-5 | Capacitor Cover, X3P150S1, with O-ring * | 77 | 3.85 | 73.15
001160565 | 116-056-5 | Line Leak Detector Unit, FX1V, Gas | 293 | 14.65 | 278.35
001160585 | 116-058-5 | Line Leak Detector Unit, FX1DV, Diesel | 293 | 14.65 | 278.35
001160625 | 116-062-5 | Vent Kit, 6” Big Maxxum Big Flo | 291 | 14.55 | 276.45
001171825 | 117-182-5 | Maxxum Big Flo Diaphragm Valve | 2530 | 126.5 | 2403.5
001363395 | 136-339-5 | Discharge Head Kit w/ Gasket, AG, 1.5” | 225 | 11.25 | 213.75
001380495 | 138-049-5 | Holder, 6 PET Check Valve | 229 | 11.45 | 217.55
001390404 | 139-040-4 | Eyebolt / Plug Assy | 14 | 0.7 | 13.3
001440915 | 144-091-5 | Pigtail Kit, 20 feet, 6.1 m (Standard & Quantum) | 186 | 9.3 | 176.7
001441625 | 144-162-5 | Pigtail Kit, 20 feet, 6.1 m (Standard & Quantum) AG | 194 | 9.7 | 184.3
001441635 | 144-163-5 | Bushing, Conduit Assembly, AG | 91 | 4.55 | 86.45
001441811 | 144-181-1 | UMP Fastener Kit (Contains bolts & washers) | 17 | 0.85 | 16.15
001441835 | 144-183-5 | Kit, Stainless Steel Check Valve & Spring, (Petroleum) | 75 | 3.75 | 71.25
001441845 | 144-184-5 | Kit, Stainless Steel Check Valve & Spring, (old style AG) | 129 | 6.45 | 122.55
001441865 | 144-186-5 | Kit, Check Valve | 732 | 36.6 | 695.4
001441915 | 144-191-5 | Kit, Siphon | 939 | 46.95 | 892.05
001441931 | 144-193-1 | Packer Discharge Seal (.240 thick) Viton | 35 | 1.75 | 33.25
001441945 | 144-194-5 | Kit, Retrofit “Trapper”, (adds 3.25” to pump length) | 507 | 25.35 | 481.65
001441955 | 144-195-5 | Kit, Brass Check Valve & Spring, (pumps built prior to 1973) | 170 | 8.5 | 161.5
001442015 | 144-201-5 | Bushing, Conduit Assembly | 77 | 3.85 | 73.15
001442035 | 144-203-5 | Kit, Flexible Tubing (No siphon check valve) | 153 | 7.65 | 145.35
001442055 | 144-205-5 | Kit, Flexible Siphon Conversion (with siphon check valve) | 252 | 12.6 | 239.4
001442125 | 144-212-5 | Kit, Repair, Quick Set O-ring (for adjusting column pipe) | 60 | 3 | 57
001442205 | 144-220-5 | UMP Hardware Kit (Kit includes 144-181-1 and 031-136-1 listed below) | 50 | 2.5 | 47.5
001443075 | 144-307-5 | Kit, Siphon Components (retrofit) | 887 | 44.35 | 842.65
001443145 | 144-314-5 | Kit, Expansion Relief 6" Big Flo | 767 | 38.35 | 728.65
001443151 | 144-315-1 | Kit, Epoxy Scotch Cast, 1 per kit | 64 | 3.2 | 60.8
001443175 | 144-317-5 | Kit, Check Valve | 1480 | 74 | 1406
001443195 | 144-319-5 | Kit, 5 Wire Connector Assembly | 622 | 31.1 | 590.9
001443205 | 144-320-5 | Kit, Lock Down Screw | 652 | 32.6 | 619.4
001443215 | 144-321-5 | Kit, 5 Wire Bushing | 457 | 22.85 | 434.15
001443225 | 144-322-5 | Kit, Expansion Relief | 696 | 34.8 | 661.2
001443274 | 144-327-4 | Flex Syphon/UMP, RJ/Q/RJ FL | 46 | 2.3 | 43.7
001443284 | 144-328-4 | Flex Siphon/Ump, T/FL Pump Kit | 56 | 2.8 | 53.2
001443365 | 144-336-5 | Floating Suction Adapter Kit (Adapter only - no arm included) 3" MNPT | 570 | 28.5 | 541.5
001443375 | 144-337-5 | Check Valve Assembly | 2830 | 141.5 | 2688.5
001470161 | 147-016-1 | Replacement LED (Isotrol only) | 108 | 5.4 | 102.6
001662505 | 166-250-5 | Plug Assembly Repair, Plastic, for Functional Element | 5 | 0.25 | 4.75
001710711 | 171-071-1 | Replacement Relay (120VAC Coil) (Isotrol) | 194 | 9.7 | 184.3
001710721 | 171-072-1 | Replacement Relay (240VAC Coil) (IQ) | 194 | 9.7 | 184.3
001720035 | 172-003-5 | Adjustable Functional Element O-ring Kit | 14 | 0.7 | 13.3
001720365 | 172-036-5 | Kit, Pump O-ring (Petroleum) | 35 | 1.75 | 33.25
001720375 | 172-037-5 | Kit, Pump O-ring (AG) | 107 | 5.35 | 101.65
001760255 | 176-025-5 | Extractor nipple seal with siphon | 588 | 29.4 | 558.6
001760265 | 176-026-5 | Extractor nipple seal without siphon | 588 | 29.4 | 558.6
001760335 | 176-033-5 | Contractor Plug Lead Seal (2 or 3 wire), Petroleum* | 76 | 3.8 | 72.2
001760675 | 176-067-5 | Contractor Plug Lead Seal (2 or 3 wire), AG | 176 | 8.8 | 167.2
002082715 | 208-271-5 | Expansion Relief Valve | 251 | 12.55 | 238.45
002440075 | 244-007-5 | Capacitor Kit, 40 MFD (for upgrading to the 2 HP single phase motor) | 236 | 11.8 | 224.2
002470015 | 247-001-5 | Pilot Light Assembly, 220 Volt | 60 | 3 | 57
003130025 | 313-002-5 | Connector Yoke Assembly (2 wire) | 195 | 9.75 | 185.25
003130155 | 313-015-5 | Connector Yoke Assembly (2 wire) AG | 221 | 11.05 | 209.95
003230015 | 323-001-5 | Adjustable Functional Element (Petroleum) | 414 | 20.7 | 393.3
003230025 | 323-002-5 | Adjustable Functional Element (old style AG) | 569 | 28.45 | 540.55
003440015 | 344-001-5 | Kit, Pump Service (Standard AG Models) | 628 | 31.4 | 596.6
003440025 | 344-002-5 | Kit, Pump Service for Standard Models | 448 | 22.4 | 425.6
008520245 | 852-024-5 | 0.33 HP Petroleum UMP with 2 inch Floating Suction Adapter | 979 | 48.95 | 930.05
008520255 | 852-025-5 | 0.75 HP Petroleum UMP with 2 inch Floating Suction Adapter | 1252 | 62.6 | 1189.4
008520385 | 852-038-5 | 1.5 HP Petroleum UMP with 1.5 inch Discharge Head | 1392 | 69.6 | 1322.4
008520425 | 852-042-5 | 1.5 HP Petroleum UMP with 2 inch Floating Suction Adapter | 1531 | 76.55 | 1454.45
008520705 | 852-070-5 | 0.33 HP Petroleum UMP with 1.5 inch Discharge Head | 880 | 44 | 836
008520715 | 852-071-5 | 0.75 HP Petroleum UMP with 1.5 inch Discharge Head | 1093 | 54.65 | 1038.35
008520835 | 852-083-5 | 0.33 HP Alcohol Gas UMP | 1181 | 59.05 | 1121.95
008520845 | 852-084-5 | 0.75 HP Alcohol Gas UMP | 1369 | 68.45 | 1300.55
008520855 | 852-085-5 | 1.5 HP Alcohol Gas UMP | 1640 | 82 | 1558
008521195 | 852-119-5 | 1.5 HP X3 (High Pressure) Petroleum UMP with 1.5 inch Discharge Head | 1636 | 81.8 | 1554.2
008521285 | 852-128-5 | 1.5 HP X3 (High Pressure) Alcohol Gas UMP | 1724 | 86.2 | 1637.8
008521325 | 852-132-5 | 1.5 HP X3 (High Pressure) Alcohol Gas UMP with 2 inch Floating Suction Adapter | 1782 | 89.1 | 1692.9
008521345 | 852-134-5 | 0.33 HP Alcohol Gas UMP with 2 inch Floating Suction Adapter | 1351 | 67.55 | 1283.45
008521355 | 852-135-5 | 0.75 HP Alcohol Gas UMP with 2 inch Floating Suction Adapter | 1582 | 79.1 | 1502.9
008521365 | 852-136-5 | 1.5 HP Alcohol Gas UMP with 2 inch Floating Suction Adapter | 1896 | 94.8 | 1801.2
008521985 | 852-198-5 | 0.33 HP Petroleum UMP | 823 | 41.15 | 781.85
008521995 | 852-199-5 | 0.75 HP Petroleum UMP | 941 | 47.05 | 893.95
008522005 | 852-200-5 | 1.5 HP Petroleum UMP | 1282 | 64.1 | 1217.9
008522025 | 852-202-5 | 1.5 HP X3 (High Pressure) Petroleum UMP | 1387 | 69.35 | 1317.65
008522035 | 852-203-5 | 1.5 HP X3 (High Pressure) Petroleum UMP with 2 inch Floating Suction Adapter | 1505 | 75.25 | 1429.75
008522215 | 852-221-5 | 2 HP Petroleum UMP | 1353 | 67.65 | 1285.35
008522225 | 852-222-5 | 2 HP Alcohol Gas UMP | 1727 | 86.35 | 1640.65
008522235 | 852-223-5 | 2 HP Petroleum UMP with 2 inch Floating Suction Adapter | 1568 | 78.4 | 1489.6
008522245 | 852-224-5 | 2 HP Alcohol Gas UMP with 2 inch Floating Suction Adapter | 1960 | 98 | 1862
008522255 | 852-225-5 | 2 HP Petroleum UMP with 1.5 inch Discharge Head | 1467 | 73.35 | 1393.65
008800091 | 880-009-1 | On/Off switch, Explosion-Proof | 928 | 46.4 | 881.6
008800415 | 880-041-5 | Control Box with 115 VAC Coil for 1/3 HP, 3/4 HP, 1 1/2 HP, 2HP Motors | 223 | 11.15 | 211.85
008800425 | 880-042-5 | Control Box with 230 VAC Coil for 1/3 HP, 3/4 HP, 1 1/2 HP, 2HP Motors | 206 | 10.3 | 195.7
008800455 | 880-045-5 | Control Box with Capacitor with 115 VAC Coil for 1/3 HP, 3/4 HP Motors | 614 | 30.7 | 583.3
008800465 | 880-046-5 | Control Box with Capacitor with 115 VAC Coil for 1 1/2 HP Motors | 629 | 31.45 | 597.55
008800471 | 880-047-1 | Isotrol Control Box 120v w/relay (Isotrol 1-8R) | 637 | 31.85 | 605.15
008800491 | 880-049-1 | Isotrol Control Box 120v w/out relay (Isotrol 1-8) | 530 | 26.5 | 503.5
008800511 | 880-051-1 | IQ Control Box 120V | 598 | 29.9 | 568.1
008800581 | 880-058-1 | IQ Control Box w/ 2HP fixed speed capacitor | 852 | 42.6 | 809.4
008834141 | 883-414-1 | Riser Flange, 6" diameter, 4" ** | 822 | 41.1 | 780.9
008834151 | 883-415-1 | Riser Flange, 6" diameter, 5" | 852 | 42.6 | 809.4
008834161 | 883-416-1 | Riser Flange, 6" diameter, 6" ** | 986 | 49.3 | 936.7
008834171 | 883-417-1 | Riser Flange, 6" diameter, 7" | 986 | 49.3 | 936.7
008834181 | 883-418-1 | Riser Flange, 6" diameter, 8" ** | 1000 | 50 | 950
008834191 | 883-419-1 | Riser Flange, 6" diameter, 10" ** | 1038 | 51.9 | 986.1
008834201 | 883-420-1 | Riser Flange, 6" diameter, 11" | 1057 | 52.85 | 1004.15
008834211 | 883-421-1 | Riser Flange, 6" diameter, 13" | 946 | 47.3 | 898.7
008834221 | 883-422-1 | Riser Flange, 6" diameter, 16" | 1125 | 56.25 | 1068.75
008834231 | 883-423-1 | Riser Flange, 6" diameter, 21" | 1199 | 59.95 | 1139.05
008834241 | 883-424-1 | Riser Flange, 6" diameter, 23" | 1077 | 53.85 | 1023.15
008834251 | 883-425-1 | Riser Flange, 6" diameter, 24" | 1257 | 62.85 | 1194.15
008834261 | 883-426-1 | Riser Flange, 6" diameter, 27" | 1122 | 56.1 | 1065.9
008834271 | 883-427-1 | Riser Flange, 6" diameter, 30" | 1234 | 61.7 | 1172.3
008834281 | 883-428-1 | Riser Flange, 6" diameter, 36" | 1234 | 61.7 | 1172.3
008834291 | 883-429-1 | Riser Flange, 6" diameter, 42" | 1323 | 66.15 | 1256.85
008834301 | 883-430-1 | Riser Flange, 6" diameter, 48" | 1406 | 70.3 | 1335.7
008834311 | 883-431-1 | Riser Flange, 6" diameter, 51" | 1453 | 72.65 | 1380.35
008840315 | 884-031-5 | Retractor, Overhead, w/36" (91.4 cm) Post | 406 | 20.3 | 385.7
008840325 | 884-032-5 | Retractor, Overhead, w/48" (121.9 cm) Post | 408 | 20.4 | 387.6
008840335 | 884-033-5 | Retractor, Overhead, w/78" (198.1 cm) Post | 449 | 22.45 | 426.55
008840345 | 884-034-5 | Retractor, Overhead | 368 | 18.4 | 349.6
0330020-843 | 330020-843 | Sump-Dri Kit | 157 | 7.85 | 149.15
0410064-002 | 410064-002 | O-ring, Conduit Sleeve | 4 | 0.2 | 3.8
0410106-001 | 410106-001 | Pipe Plug, 2 NPT | 17 | 0.85 | 16.15
0410140-001 | 410140-001 | 0.75 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 2420 | 121 | 2299
0410140-002 | 410140-002 | 0.75 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 2444 | 122.2 | 2321.8
0410140-003 | 410140-003 | 0.75 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 2704 | 135.2 | 2568.8
0410140-004 | 410140-004 | 0.75 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 2758 | 137.9 | 2620.1
0410140-005 | 410140-005 | 0.75 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 2673 | 133.65 | 2539.35
0410140-006 | 410140-006 | 0.75 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 2673 | 133.65 | 2539.35
0410140-019 | 410140-019 | 0.75 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3239 | 161.95 | 3077.05
0410140-020 | 410140-020 | 0.75 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3239 | 161.95 | 3077.05
0410140-021 | 410140-021 | 0.75 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3030 | 151.5 | 2878.5
0410140-022 | 410140-022 | 0.75 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3166 | 158.3 | 3007.7
0410140-023 | 410140-023 | 0.75 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3166 | 158.3 | 3007.7
0410140-024 | 410140-024 | 0.75 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3227 | 161.35 | 3065.65
0410140-086 | 410140-086 | 0.75 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 3842 | 192.1 | 3649.9
0410140-087 | 410140-087 | 0.75 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 3842 | 192.1 | 3649.9
0410140-088 | 410140-088 | 0.75 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 3858 | 192.9 | 3665.1
0410140-089 | 410140-089 | 0.75 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4049 | 202.45 | 3846.55
0410140-090 | 410140-090 | 0.75 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4085 | 204.25 | 3880.75
0410140-091 | 410140-091 | 0.75 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4154 | 207.7 | 3946.3
0410141-001 | 410141-001 | 1.5 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3076 | 153.8 | 2922.2
0410141-002 | 410141-002 | 1.5 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3000 | 150 | 2850
0410141-003 | 410141-003 | 1.5 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3208 | 160.4 | 3047.6
0410141-004 | 410141-004 | 1.5 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3149 | 157.45 | 2991.55
0410141-005 | 410141-005 | 1.5 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3363 | 168.15 | 3194.85
0410141-006 | 410141-006 | 1.5 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3221 | 161.05 | 3059.95
0410141-019 | 410141-019 | 1.5 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3824 | 191.2 | 3632.8
0410141-020 | 410141-020 | 1.5 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3706 | 185.3 | 3520.7
0410141-021 | 410141-021 | 1.5 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3652 | 182.6 | 3469.4
0410141-022 | 410141-022 | 1.5 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3695 | 184.75 | 3510.25
0410141-023 | 410141-023 | 1.5 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3695 | 184.75 | 3510.25
0410141-024 | 410141-024 | 1.5 HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3764 | 188.2 | 3575.8
0410141-088 | 410141-088 | 1.5 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4395 | 219.75 | 4175.25
0410141-089 | 410141-089 | 1.5 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4326 | 216.3 | 4109.7
0410141-090 | 410141-090 | 1.5 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4391 | 219.55 | 4171.45
0410141-091 | 410141-091 | 1.5 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4430 | 221.5 | 4208.5
0410141-092 | 410141-092 | 1.5 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4430 | 221.5 | 4208.5
0410141-093 | 410141-093 | 1.5 HP 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4488 | 224.4 | 4263.6
0410142-001 | 410142-001 | 2 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3654 | 182.7 | 3471.3
0410142-002 | 410142-002 | 2 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3563 | 178.15 | 3384.85
0410142-003 | 410142-003 | 2 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3714 | 185.7 | 3528.3
0410142-004 | 410142-004 | 2 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3759 | 187.95 | 3571.05
0410142-005 | 410142-005 | 2 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3702 | 185.1 | 3516.9
0410142-006 | 410142-006 | 2 HP 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4021 | 201.05 | 3819.95
0410142-019 | 410142-019 | 2HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 4129 | 206.45 | 3922.55
0410142-020 | 410142-020 | 2HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 4274 | 213.7 | 4060.3
0410142-021 | 410142-021 | 2HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 4210 | 210.5 | 3999.5
0410142-022 | 410142-022 | 2HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 4231 | 211.55 | 4019.45
0410142-023 | 410142-023 | 2HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 4231 | 211.55 | 4019.45
0410142-024 | 410142-024 | 2HP 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 4312 | 215.6 | 4096.4
0410142-063 | 410142-063 | 2HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4988 | 249.4 | 4738.6
0410142-064 | 410142-064 | 2HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4911 | 245.55 | 4665.45
0410142-065 | 410142-065 | 2HP 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4965 | 248.25 | 4716.75
0410142-066 | 410142-066 | 2HP 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 5187 | 259.35 | 4927.65
0410142-067 | 410142-067 | 2HP 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 5006 | 250.3 | 4755.7
0410142-068 | 410142-068 | 2HP 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4954 | 247.7 | 4706.3
0410142-075 | 410142-075 | 2 HP LP (Low Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3422 | 171.1 | 3250.9
0410142-076 | 410142-076 | 2 HP LP (Low Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3319 | 165.95 | 3153.05
0410142-077 | 410142-077 | 2 HP LP (Low Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3545 | 177.25 | 3367.75
0410142-078 | 410142-078 | 2 HP LP (Low Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3604 | 180.2 | 3423.8
0410142-079 | 410142-079 | 2 HP LP (Low Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3346 | 167.3 | 3178.7
0410142-080 | 410142-080 | 2 HP LP (Low Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3741 | 187.05 | 3553.95
0410142-081 | 410142-081 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 4033 | 201.65 | 3831.35
0410142-082 | 410142-082 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3838 | 191.9 | 3646.1
0410142-083 | 410142-083 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 4112 | 205.6 | 3906.4
0410142-084 | 410142-084 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 4216 | 210.8 | 4005.2
0410142-085 | 410142-085 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3913 | 195.65 | 3717.35
0410142-086 | 410142-086 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 4300 | 215 | 4085
0410142-087 | 410142-087 | 2 HP LP (Low Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4469 | 223.45 | 4245.55
0410142-088 | 410142-088 | 2 HP LP (Low Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4626 | 231.3 | 4394.7
0410142-089 | 410142-089 | 2 HP LP (Low Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4638 | 231.9 | 4406.1
0410142-090 | 410142-090 | 2 HP LP (Low Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4769 | 238.45 | 4530.55
0410142-091 | 410142-091 | 2 HP LP (Low Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4769 | 238.45 | 4530.55
0410142-092 | 410142-092 | 2 HP LP (Low Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4909 | 245.45 | 4663.55
0410143-001 | 410143-001 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3274 | 163.7 | 3110.3
0410143-002 | 410143-002 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3174 | 158.7 | 3015.3
0410143-003 | 410143-003 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | 3195 | 159.75 | 3035.25
0410143-004 | 410143-004 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3181 | 159.05 | 3021.95
0410143-005 | 410143-005 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3181 | 159.05 | 3021.95
0410143-006 | 410143-006 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 3314 | 165.7 | 3148.3
0410143-019 | 410143-019 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3808 | 190.4 | 3617.6
0410143-020 | 410143-020 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3736 | 186.8 | 3549.2
0410143-021 | 410143-021 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | 3674 | 183.7 | 3490.3
0410143-022 | 410143-022 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3862 | 193.1 | 3668.9
0410143-023 | 410143-023 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3789 | 189.45 | 3599.55
0410143-024 | 410143-024 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies w/ FSA | 3862 | 193.1 | 3668.9
0410143-083 | 410143-083 | 1.5 HP X3 (High Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4395 | 219.75 | 4175.25
0410143-084 | 410143-084 | 1.5 HP X3 (High Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4245 | 212.25 | 4032.75
0410143-085 | 410143-085 | 1.5 HP X3 (High Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies | 4632 | 231.6 | 4400.4
0410143-086 | 410143-086 | 1.5 HP X3 (High Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4675 | 233.75 | 4441.25
0410143-087 | 410143-087 | 1.5 HP X3 (High Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4675 | 233.75 | 4441.25
0410143-088 | 410143-088 | 1.5 HP X3 (High Pressure) 4in RA STP - Quick Set (Adjustable) Final Assemblies w/ FSA | 4827 | 241.35 | 4585.65
0410151-001 | 410151-001 | Siphon Cartridge Kit* | 283 | 14.15 | 268.85
0410151-002 | 410151-002 | Stainless Steel AG Siphon Cartridge Kit | 502 | 25.1 | 476.9
0410152-001 | 410152-001 | Check Valve Housing Kit | 354 | 17.7 | 336.3
0410152-002 | 410152-002 | Check Valve Housing Kit, High Pressure | 364 | 18.2 | 345.8
0410152-005 | 410152-005 | RA Check Valve Housing Kit | 351 | 17.55 | 333.45
0410152-006 | 410152-006 | RA High Pressure Check Valve Housing Kit | 351 | 17.55 | 333.45
0410153-001 | 410153-001 | Check Valve Kit | 270 | 13.5 | 256.5
0410153-002 | 410153-002 | Check Valve Kit, High Pressure | 270 | 13.5 | 256.5
0410154-001 | 410154-001 | O-Ring Kit | 198 | 9.9 | 188.1
0410156-001 | 410156-001 | Pigtail Kit, 20 feet, 6.1 m (Red Jacket Submersible Turbine Pump) | 185 | 9.25 | 175.75
0410164-001 | 410164-001 | Capacitor Kit, 17.5 MFD (.75 HP) | 147 | 7.35 | 139.65
0410164-002 | 410164-002 | Capacitor Kit, 25 MFD (1.5 HP) | 173 | 8.65 | 164.35
0410164-003 | 410164-003 | Capacitor Kit, 40 MFD (2 HP) | 222 | 11.1 | 210.9
0410165-001 | 410165-001 | Electrical Connector Kit | 286 | 14.3 | 271.7
0410166-001 | 410166-001 | 0.75 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 2549 | 127.45 | 2421.55
0410166-002 | 410166-002 | 0.75 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 2549 | 127.45 | 2421.55
0410166-003 | 410166-003 | 0.75 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3081 | 154.05 | 2926.95
0410166-010 | 410166-010 | 0.75 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 2926 | 146.3 | 2779.7
0410166-011 | 410166-011 | 0.75 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 2926 | 146.3 | 2779.7
0410166-012 | 410166-012 | 0.75 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 3466 | 173.3 | 3292.7
0410166-019 | 410166-019 | 0.75 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 2657 | 132.85 | 2524.15
0410166-020 | 410166-020 | 0.75 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 2657 | 132.85 | 2524.15
0410166-021 | 410166-021 | 0.75 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3279 | 163.95 | 3115.05
0410166-028 | 410166-028 | 0.75 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3024 | 151.2 | 2872.8
0410166-029 | 410166-029 | 0.75 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3024 | 151.2 | 2872.8
0410166-030 | 410166-030 | 0.75 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3664 | 183.2 | 3480.8
0410166-073 | 410166-073 | 0.75 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 3520 | 176 | 3344
0410166-074 | 410166-074 | 0.75 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 3520 | 176 | 3344
0410166-075 | 410166-075 | 0.75 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4238 | 211.9 | 4026.1
0410166-076 | 410166-076 | 0.75 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3718 | 185.9 | 3532.1
0410166-077 | 410166-077 | 0.75 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3718 | 185.9 | 3532.1
0410166-078 | 410166-078 | 0.75 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4431 | 221.55 | 4209.45
0410173-001 | 410173-001 | 1.5 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3115 | 155.75 | 2959.25
0410173-002 | 410173-002 | 1.5 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3115 | 155.75 | 2959.25
0410173-003 | 410173-003 | 1.5 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3594 | 179.7 | 3414.3
0410173-010 | 410173-010 | 1.5 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 3449 | 172.45 | 3276.55
0410173-011 | 410173-011 | 1.5 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 3449 | 172.45 | 3276.55
0410173-012 | 410173-012 | 1.5 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 4053 | 202.65 | 3850.35
0410173-019 | 410173-019 | 1.5 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3190 | 159.5 | 3030.5
0410173-020 | 410173-020 | 1.5 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3190 | 159.5 | 3030.5
0410173-021 | 410173-021 | 1.5 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3777 | 188.85 | 3588.15
0410173-028 | 410173-028 | 1.5 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3639 | 181.95 | 3457.05
0410173-029 | 410173-029 | 1.5 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3639 | 181.95 | 3457.05
0410173-030 | 410173-030 | 1.5 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4243 | 212.15 | 4030.85
0410173-073 | 410173-073 | 1.5 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4414 | 220.7 | 4193.3
0410173-074 | 410173-074 | 1.5 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4163 | 208.15 | 3954.85
0410173-075 | 410173-075 | 1.5 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4843 | 242.15 | 4600.85
0410173-076 | 410173-076 | 1.5 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4355 | 217.75 | 4137.25
0410173-077 | 410173-077 | 1.5 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4355 | 217.75 | 4137.25
0410173-078 | 410173-078 | 1.5 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 5035 | 251.75 | 4783.25
0410174-001 | 410174-001 | 2 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3624 | 181.2 | 3442.8
0410174-002 | 410174-002 | 2 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3501 | 175.05 | 3325.95
0410174-003 | 410174-003 | 2 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 4071 | 203.55 | 3867.45
0410174-010 | 410174-010 | 2 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 4182 | 209.1 | 3972.9
0410174-011 | 410174-011 | 2 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 4040 | 202 | 3838
0410174-012 | 410174-012 | 2 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 4630 | 231.5 | 4398.5
0410174-019 | 410174-019 | 2 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3678 | 183.9 | 3494.1
0410174-020 | 410174-020 | 2 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3678 | 183.9 | 3494.1
0410174-021 | 410174-021 | 2 HP 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4252 | 212.6 | 4039.4
0410174-028 | 410174-028 | 2 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4226 | 211.3 | 4014.7
0410174-029 | 410174-029 | 2 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4226 | 211.3 | 4014.7
0410174-030 | 410174-030 | 2 HP 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4813 | 240.65 | 4572.35
0410174-049 | 410174-049 | 2 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4786 | 239.3 | 4546.7
0410174-050 | 410174-050 | 2 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4786 | 239.3 | 4546.7
0410174-051 | 410174-051 | 2 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 5448 | 272.4 | 5175.6
0410174-052 | 410174-052 | 2 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4975 | 248.75 | 4726.25
0410174-053 | 410174-053 | 2 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4975 | 248.75 | 4726.25
0410174-054 | 410174-054 | 2 HP 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 5634 | 281.7 | 5352.3
0410174-061 | 410174-061 | 2 HP LP (Low Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3185 | 159.25 | 3025.75
0410174-062 | 410174-062 | 2 HP LP (Low Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3185 | 159.25 | 3025.75
0410174-063 | 410174-063 | 2 HP LP (Low Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3863 | 193.15 | 3669.85
0410174-064 | 410174-064 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 3834 | 191.7 | 3642.3
0410174-065 | 410174-065 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 3834 | 191.7 | 3642.3
0410174-066 | 410174-066 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 4410 | 220.5 | 4189.5
0410174-067 | 410174-067 | 2 HP LP (Low Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3479 | 173.95 | 3305.05
0410174-068 | 410174-068 | 2 HP LP (Low Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3479 | 173.95 | 3305.05
0410174-069 | 410174-069 | 2 HP LP (Low Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4039 | 201.95 | 3837.05
0410174-070 | 410174-070 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4015 | 200.75 | 3814.25
0410174-071 | 410174-071 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4015 | 200.75 | 3814.25
0410174-072 | 410174-072 | 2 HP LP (Low Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4590 | 229.5 | 4360.5
0410174-073 | 410174-073 | 2 HP LP (Low Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4396 | 219.8 | 4176.2
0410174-074 | 410174-074 | 2 HP LP (Low Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4396 | 219.8 | 4176.2
0410174-075 | 410174-075 | 2 HP LP (Low Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 5019 | 250.95 | 4768.05
0410174-076 | 410174-076 | 2 HP LP (Low Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4571 | 228.55 | 4342.45
0410174-077 | 410174-077 | 2 HP LP (Low Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4571 | 228.55 | 4342.45
0410174-078 | 410174-078 | 2 HP LP (Low Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 5193 | 259.65 | 4933.35
0410175-001 | 410175-001 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3085 | 154.25 | 2930.75
0410175-002 | 410175-002 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3085 | 154.25 | 2930.75
0410175-003 | 410175-003 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | 3672 | 183.6 | 3488.4
0410175-010 | 410175-010 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 3530 | 176.5 | 3353.5
0410175-011 | 410175-011 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 3530 | 176.5 | 3353.5
0410175-012 | 410175-012 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | 4131 | 206.55 | 3924.45
0410175-019 | 410175-019 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3269 | 163.45 | 3105.55
0410175-020 | 410175-020 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3269 | 163.45 | 3105.55
0410175-021 | 410175-021 | 1.5 HP X3 (High Pressure) 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3850 | 192.5 | 3657.5
0410175-028 | 410175-028 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3717 | 185.85 | 3531.15
0410175-029 | 410175-029 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 3717 | 185.85 | 3531.15
0410175-030 | 410175-030 | 1.5 HP X3 (High Pressure) 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4322 | 216.1 | 4105.9
0410175-085 | 410175-085 | 1.5 HP X3 (High Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4227 | 211.35 | 4015.65
0410175-086 | 410175-086 | 1.5 HP X3 (High Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4227 | 211.35 | 4015.65
0410175-087 | 410175-087 | 1.5 HP X3 (High Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | 4906 | 245.3 | 4660.7
0410175-088 | 410175-088 | 1.5 HP X3 (High Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4418 | 220.9 | 4197.1
0410175-089 | 410175-089 | 1.5 HP X3 (High Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 4418 | 220.9 | 4197.1
0410175-090 | 410175-090 | 1.5 HP X3 (High Pressure) 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies w/ FSA | 5098 | 254.9 | 4843.1
0410184-013 | 410184-013 | 0.75 HP Petroleum UMP with 2 inch Discharge Head | 1125 | 56.25 | 1068.75
0410184-014 | 410184-014 | 1.5 HP Petroleum UMP with 2 inch Discharge Head | 1372 | 68.6 | 1303.4
0410184-015 | 410184-015 | 1.5 HP X3 (High Pressure) Petroleum UMP with 2 inch Discharge Head | 1420 | 71 | 1349
0410184-016 | 410184-016 | 2 HP Petroleum UMP with 2 inch Discharge Head | 1568 | 78.4 | 1489.6
0410184-073 | 410184-073 | 2 HP LP (Low Pressure) Petroleum UMP | 1509 | 75.45 | 1433.55
0410184-074 | 410184-074 | 2 HP LP (Low Pressure) Alcohol Gas UMP | 1601 | 80.05 | 1520.95
0410184-075 | 410184-075 | 2 HP LP (Low Pressure) Petroleum UMP with 2 inch Floating Suction Adapter | 1363 | 68.15 | 1294.85
0410184-076 | 410184-076 | 2 HP LP (Low Pressure) Alcohol Gas UMP with 2 inch Floating Suction Adapter | 1666 | 83.3 | 1582.7
0410193-001 | 410193-001 | Discharge Head Kit w/ Gasket, AG, 2” | 278 | 13.9 | 264.1
0410482-001 | 410482-001 | Kit, Eyebolt Assembly | 106 | 5.3 | 100.7
0410482-002 | 410482-002 | RA Eyebolt Plug Kit | 99 | 4.95 | 94.05
0410483-001 | 410483-001 | Siphon Dummy Plug Kit | 92 | 4.6 | 87.4
0410483-002 | 410483-002 | RA Siphon Dummy Plug Kit | 87 | 4.35 | 82.65
0410484-001 | 410484-001 | Kit, Air Purge Screw Kit | 74 | 3.7 | 70.3
0410485-001 | 410485-001 | Die Spring Kit | 57 | 2.85 | 54.15
0410486-001 | 410486-001 | Kit, Conduit Bushing | 80 | 4 | 76
0410648-001 | 410648-001 | Magnetic Starter (115 volt coil) - DEF | 786 | 39.3 | 746.7
0410648-002 | 410648-002 | Magnetic Starter (240 volt coil) - DEF | 794 | 39.7 | 754.3
0410648-003 | 410648-003 | Magnetic Starter (575 volt coil) - DEF | 787 | 39.35 | 747.65
0410649-003 | 410649-003 | Heater | 79 | 3.95 | 75.05
0410649-004 | 410649-004 | Heater | 78 | 3.9 | 74.1
0410649-006 | 410649-006 | Heater | 84 | 4.2 | 79.8
0410649-008 | 410649-008 | Heater | 82 | 4.1 | 77.9
0410649-009 | 410649-009 | Heater | 83 | 4.15 | 78.85
0410649-010 | 410649-010 | Heater | 83 | 4.15 | 78.85
0410649-011 | 410649-011 | Heater | 84 | 4.2 | 79.8
0410718-001 | 410718-001 | UMP Replacements - 6 inch | 7243 | 362.15 | 6880.85
0410718-003 | 410718-003 | UMP Replacements - 6 inch | 7678 | 383.9 | 7294.1
0410718-004 | 410718-004 | UMP Replacements - 6 inch | 8184 | 409.2 | 7774.8
0410747-001 | 410747-001 | Ultem Adaptor (adaptor sanitary 3.0") | 294 | 14.7 | 279.3
0410758-001 | 410758-001 | Check Valve Kit | 196 | 9.8 | 186.2
0410760-001 | 410760-001 | Pump Discharge/Return O-Ring Kit | 726 | 36.3 | 689.7
0410763-001 | 410763-001 | 3 HP Maxxum Fixed Length Final Assemblies - Up to 9’11” | 12142 | 607.1 | 11534.9
0410763-003 | 410763-003 | 5 HP 230V Maxxum Fixed Length Final Assemblies - Up to 9’11” | 12682 | 634.1 | 12047.9
0410763-004 | 410763-004 | 5 HP 575V Maxxum Fixed Length Final Assemblies - Up to 9’11” | 13084 | 654.2 | 12429.8
0410763-006 | 410763-006 | 3 HP Maxxum w/ Siphon Fixed Length Final Assemblies - Up to 9’11” | 12082 | 604.1 | 11477.9
0410763-008 | 410763-008 | 5 HP 230V Maxxum w/ Siphon Fixed Length Final Assemblies - Up to 9’11” | 15524 | 776.2 | 14747.8
0410763-009 | 410763-009 | 5 HP 575V Maxxum w/ Siphon Fixed Length Final Assemblies - Up to 9’11” | 14174 | 708.7 | 13465.3
0410773-001 | 410773-001 | Pump Circlip and Cover Kit | 935 | 46.75 | 888.25
0410774-001 | 410774-001 | Pigtail Kit, 16 feet, 4.9 m, 5 wire (Plug & Lead) | 815 | 40.75 | 774.25
0410779-001 | 410779-001 | Riser Flange, 6" diameter, 12" ** | 1042 | 52.1 | 989.9
0410779-002 | 410779-002 | Riser Flange, 6" diameter, 22" ** | 1244 | 62.2 | 1181.8
0410818-001 | 410818-001 | Flex Siphon/UMP, AG RJ/AG RJ FL | 50 | 2.5 | 47.5
0410829-075 | 410829-075 | Riser, 4” diameter, Stainless Steel, 7.5” * | 311 | 15.55 | 295.45
0410829-085 | 410829-085 | Riser, 4” diameter, Stainless Steel, 8.5” (10-Day Leadtime) | 253 | 12.65 | 240.35
0410829-105 | 410829-105 | Riser, 4” diameter, Stainless Steel, 10.5” * | 311 | 15.55 | 295.45
0410829-125 | 410829-125 | Riser, 4” diameter, Stainless Steel, 12.5” * | 311 | 15.55 | 295.45
0410829-155 | 410829-155 | Riser, 4” diameter, Stainless Steel, 15.5” * | 311 | 15.55 | 295.45
0410829-185 | 410829-185 | Riser, 4” diameter, Stainless Steel, 18.5” (10-Day Leadtime) | 455 | 22.75 | 432.25
0410829-195 | 410829-195 | Riser, 4” diameter, Stainless Steel, 19.5” * | 373 | 18.65 | 354.35
0410829-245 | 410829-245 | Riser, 4” diameter, Stainless Steel, 24.5” (10-Day Leadtime) | 519 | 25.95 | 493.05
0410829-275 | 410829-275 | Riser, 4” diameter, Stainless Steel, 27.5” * | 546 | 27.3 | 518.7
0410829-360 | 410829-360 | Riser, 4” diameter, Stainless Steel, 36.” (Contact Customer Service for lead time) | 583 | 29.15 | 553.85
0410852-001 | 410852-001 | 0.75 HP CoreDef UMP | 2383 | 119.15 | 2263.85
0410852-003 | 410852-003 | 2 HP CoreDef UMP (1 Ph) | 2825 | 141.25 | 2683.75
0410852-005 | 410852-005 | 2 HP CoreDef UMP (3 Ph) | 2880 | 144 | 2736
0410861-001 | 410861-001 | Control Box with Capacitor with 115 VAC Coil for 2 HP Motors | 722 | 36.1 | 685.9
0410870-001 | 410870-001 | 0.75 HP CoreDEF Final Assemblies with Fixed Pressure Relief Valve | 3981 | 199.05 | 3781.95
0410870-002 | 410870-002 | 0.75 HP CoreDEF Final Assemblies with Fixed Pressure Relief Valve | 3981 | 199.05 | 3781.95
0410870-005 | 410870-005 | 0.75 HP CoreDEF Final Assemblies without Fixed Pressure Relief Valve | 3905 | 195.25 | 3709.75
0410870-006 | 410870-006 | 0.75 HP CoreDEF Final Assemblies without Fixed Pressure Relief Valve | 3981 | 199.05 | 3781.95
0410870-009 | 410870-009 | 2HP 1ph CoreDEF Final Assemblies with Fixed Pressure Relief Valve | 4523 | 226.15 | 4296.85
0410870-010 | 410870-010 | 2HP 1ph CoreDEF Final Assemblies with Fixed Pressure Relief Valve | 4960 | 248 | 4712
0410870-013 | 410870-013 | 2HP 1ph CoreDEF Final Assemblies without Fixed Pressure Relief Valve | 4437 | 221.85 | 4215.15
0410870-014 | 410870-014 | 2HP 1ph CoreDEF Final Assemblies without Fixed Pressure Relief Valve | 4523 | 226.15 | 4296.85
0410870-017 | 410870-017 | 2HP 3ph CoreDEF Final Assemblies with Fixed Pressure Relief Valve | 4466 | 223.3 | 4242.7
0410870-018 | 410870-018 | 2HP 3ph CoreDEF Final Assemblies with Fixed Pressure Relief Valve | 5546 | 277.3 | 5268.7
0410870-019 | 410870-019 | 2HP 3ph CoreDEF Final Assemblies without Fixed Pressure Relief Valve | 4714 | 235.7 | 4478.3
0410870-020 | 410870-020 | 2HP 3ph CoreDEF Final Assemblies without Fixed Pressure Relief Valve | 4554 | 227.7 | 4326.3
0410874-001 | 410874-001 | SS tube and fittings for the FXV leak detector | 232 | 11.6 | 220.4
0410875-001 | 410875-001 | Check Valve Kit (Recommended with use of Adjustable Pressure Relief Kit) | 143 | 7.15 | 135.85
0410878-001 | 410878-001 | 1 1/4" Adapter Kit - NPT to BSPP | 142 | 7.1 | 134.9
0410879-001 | 410879-001 | 2" Adapter Kit - NPT to BSPP | 226 | 11.3 | 214.7
0410880-001 | 410880-001 | Pressure Gauge Kit | 445 | 22.25 | 422.75
0410881-001 | 410881-001 | Adjustable Pressure Relief Kit (w/1” NPT inlet/outlet valve)* (required for line pressure control) | 2010 | 100.5 | 1909.5
0410882-001 | 410882-001 | Replacement 1/2" Pressure Relief Kit | 378 | 18.9 | 359.1
0410883-001 | 410883-001 | Replacement 1 1/4" Pressure Relief Kit | 600 | 30 | 570
0410886-001 | 410886-001 | Cable Repair Kit | 176 | 8.8 | 167.2
0410893-001 | 410893-001 | KIT-FE CONVERSION W/ 120V CONTROL BOX | 374 | 18.7 | 355.3
0410893-003 | 410893-003 | KIT-FE CONVERSION W/ 120V CONTROL BOX W/CAP. | 729 | 36.45 | 692.55
0410893-005 | 410893-005 | KIT-FE CONVERSION W/ 120V IQ BOX | 716 | 35.8 | 680.2
0410893-007 | 410893-007 | KIT-FE CONVERSION W/ 120V IQ BOX W/CAP. | 872 | 43.6 | 828.4
0410905-001 | 410905-001 | RA Conduit Box Plug Kit | 116 | 5.8 | 110.2
0410906-001 | 410906-001 | RA Die Spring Kit | 104 | 5.2 | 98.8
0410911-001 | 410911-001 | Protective Cap Kit for Red Armor (1/ea. Included with every RA pump) | 198 | 9.9 | 188.1
0410912-001 | 410912-001 | Manifold Installation Tool | 211 | 10.55 | 200.45
0579151-001 | 579151-001 | Gauge - Pressure, Liquid filled | 492 | 24.6 | 467.4
0579172-001 | 579172-001 | 3”Tri-Clamp x 1-1/2” FNPT Adapter | 855 | 42.75 | 812.25
0579172-002 | 579172-002 | 3”Tri-Clamp x 2” FNPT Adapter | 805 | 40.25 | 764.75
0579173-001 | 579173-001 | 3”Tri-Clamp x 1-1/2” MNPT Adapter | 855 | 42.75 | 812.25
0579176-001 | 579176-001 | O-Ring 1.85 ID x .210W Fluorocarbon -328 | 232 | 11.6 | 220.4
0579181-001 | 579181-001 | Circlip - Pump DEF | 446 | 22.3 | 423.7
0579182-001 | 579182-001 | Cover - Pump DEF | 501 | 25.05 | 475.95
008800521 | 880-052-1 | IQ Control Box 240V | 607 | 30.35 | 576.65
008800591 | 880-059-1 | IQ Control Box 240V w/ 2HP fixed speed capacitor | 607 | 30.35 | 576.65
0410600-001 | 410600-001 | Red Jacket IQ Controller Software Prom Upgrade for Diagnostic Feature “805-001F V3.5” (Includes Chip Puller) | 75 | 3.75 | 71.25