## 2019 Jun RJM NA Price List
QAD Part Number | Part Number | Description | Model Number | List Price | VDOT Discount 15% | VDOT Price
000081673 | 008-167-3 | Body, 6" PET Siphon Inj |  | 56 | 8.4 | 47.6
000081681 | 008-168-1 | Junction Box with cover |  | 255 | 38.25 | 216.75
000082021 | 008-202-1 | Terminal Block |  | 12 | 1.8 | 10.2
000082021 | 008-202-1 | Terminal Block |  | 12 | 1.8 | 10.2
000110851 | 011-085-1 | Capacitor 200A1-CB Starter Capacitor for P200H1CB |  | 100 | 15 | 85
000131471 | 013-147-1 | 1 1/4 galv. Steel conduit (12 length) |  | 42 | 6.3 | 35.7
000143013 | 014-301-3 | Door Cover |  | 26 | 3.9 | 22.1
000146061 | 014-606-1 | 1/4 NPT female Snap Tap body |  | 110 | 16.5 | 93.5
000146961 | 014-696-1 | Swagelok Tube Connection body |  | 134 | 20.1 | 113.9
000146971 | 014-697-1 | Swagelok Tube Connection stem |  | 97 | 14.55 | 82.45
000147231 | 014-723-1 | Magnetic Contactor (for 880-041-5, 880-045-5, 880-046-5) |  | 116 | 17.4 | 98.6
000175265 | 017-526-5 | Adjustable Functional Element Diaphragm – GFLT |  | 125 | 18.75 | 106.25
000175731 | 017-573-1 | Diaphragm, Expansion Relief |  | 125 | 18.75 | 106.25
000250381 | 025-038-1 | Siphon Check Valve Extractor (No Charge) |  | 0 | 0 | 0
000261101 | 026-110-1 | Spare Lock Washer 3/8 (need 4 per discharge head) (Price is for qty of 1/ea) |  | 4 | 0.6 | 3.4
000261761 | 026-176-1 | Screw, 3/8-16 x 3/4 UNC (2 required) |  | 3 | 0.45 | 2.55
000261811 | 026-181-1 | Screw, Hex Head, Junction Box |  | 3 | 0.45 | 2.55
000261841 | 026-184-1 | Spare Bolt, 3/8-16X2 1/4 Hex (need 4 per discharge head) (Price is for qty of 1/ea) |  | 4 | 0.6 | 3.4
000261981 | 026-198-1 | Manifold Screw, (3/4-10x1 3/4) (4 required) |  | 9 | 1.35 | 7.65
000262051 | 026-205-1 | Screw, Hex Head, Packer Manifold |  | 3 | 0.45 | 2.55
000262051 | 026-205-1 | Screw, 1/2-13 x 1 1/4 UNC (2 required) |  | 3 | 0.45 | 2.55
000262191 | 026-219-1 | Cap Screw (3/4 - 16x3/8) (2 required) |  | 9 | 1.35 | 7.65
000264481 | 026-448-1 | Set Screw, 1/4-20X3/8 (need 2 per discharge head) (Price is for qty of 1/ea) |  | 4 | 0.6 | 3.4
000266271 | 026-627-1 | Screw, 1/4-20 X 1/2 Pan SST |  | 3 | 0.45 | 2.55
000267501 | 026-750-1 | Bolt, Hex 1/2 - 13 x 1 1/2 (6 required) |  | 11 | 1.65 | 9.35
000267571 | 026-757-1 | Bolt, Hex 1/2 - 13 x 1 (4 required) |  | 11 | 1.65 | 9.35
000267591 | 026-759-1 | Bolt, Hex 3/4 - 10 x 1 3/4 (3 required) |  | 12 | 1.8 | 10.2
000270311 | 027-031-1 | Pipe Plug, 1/4 NPT |  | 3 | 0.45 | 2.55
000270311 | 027-031-1 | Plug, Pipe 1/4 NPT (2 required) |  | 3 | 0.45 | 2.55
000270651 | 027-065-1 | Fitting, Bush 3/4 NPT-1/4 NPT ZN |  | 4 | 0.6 | 3.4
000270841 | 027-084-1 | Plug, Pipe 3/8 NPT (2 required) |  | 3 | 0.45 | 2.55
000271763 | 027-176-3 | Plug, Conduit Junction Box, 2 NPT |  | 18 | 2.7 | 15.3
000272381 | 027-238-1 | 45 degree Elbow for Snap Tap |  | 12 | 1.8 | 10.2
000272401 | 027-240-1 | Plug Square 1/4 NPT |  | 3 | 0.45 | 2.55
000272741 | 027-274-1 | Brass Fittings |  | 38 | 5.7 | 32.3
000272761 | 027-276-1 | Fitting Tube (2 required) |  | 34 | 5.1 | 28.9
000272871 | 027-287-1 | Fitting, Elbow, Male |  | 11 | 1.65 | 9.35
000272901 | 027-290-1 | Fitting, T, Male Branch |  | 26 | 3.9 | 22.1
000281251 | 028-125-1 | Flange 3 (2 required) |  | 74 | 11.1 | 62.9
000281781 | 028-178-1 | Flow Meter |  | 1732 | 259.8 | 1472.2
000310971 | 031-097-1 | Gasket, 6" PET Siphon Pipe for Gas |  | 18 | 2.7 | 15.3
000311051 | 031-105-1 | Gasket, 6" PET WL SL "Inner" |  | 9 | 1.35 | 7.65
000311061 | 031-106-1 | Gasket, 6" PET WL SL "Outer" |  | 34 | 5.1 | 28.9
000311071 | 031-107-1 | Gasket, 6" PET WL SL with Manifold holes |  | 3 | 0.45 | 2.55
000311081 | 031-108-1 | Gasket, manifold to riser flange |  | 24 | 3.6 | 20.4
000311361 | 031-136-1 | Gasket, 4” Pump |  | 11 | 1.65 | 9.35
000312451 | 031-245-1 | 3 Flange Gasket (2 required) |  | 19 | 2.85 | 16.15
000313231 | 031-323-1 | Pressure and Vacuum Gauge |  | 166 | 24.9 | 141.1
000313281 | 031-328-1 | Gasket, Bolt |  | 3 | 0.45 | 2.55
000313341 | 031-334-1 | Gasket Flange |  | 54 | 8.1 | 45.9
000360433 | 036-043-3 | 6 Discharge Head Pet (Gasket comes with motor) |  | 180 | 27 | 153
000360641 | 036-064-1 | Handle, 4PET eyebolt |  | 9 | 1.35 | 7.65
000364701 | 036-470-1 | Handle, Lifting (2 required) |  | 91 | 13.65 | 77.35
000380725 | 038-072-5 | Leak Detector Housing (T-adapter) |  | 63 | 9.45 | 53.55
000382091 | 038-209-1 | Hose Black (5 feet, 1.5 m) |  | 251 | 37.65 | 213.35
000382101 | 038-210-1 | Hose Orange (5 feet, 1.5 m, male x female) |  | 243 | 36.45 | 206.55
000422233 | 042-223-3 | Standard Finals built with 2 NPT Floating Suction Adapter (add) |  | 174 | 26.1 | 147.9
000462001 | 046-200-1 | FX Label - Operating Instructions |  | 2 | 0.3 | 1.7
000580291 | 058-029-1 | Nozzle, Siphon 6" PET |  | 42 | 6.3 | 35.7
000600481 | 060-048-1 | Nut, Packing, Hex |  | 15 | 2.25 | 12.75
000600571 | 060-057-1 | Packing nut, conduit |  | 41 | 6.15 | 34.85
000651173 | 065-117-3 | Riser, 4" diameter, 7 1/2" * |  | 94 | 14.1 | 79.9
000651183 | 065-118-3 | Riser, 4" diameter, 8 1/2" |  | 140 | 21 | 119
000651193 | 065-119-3 | Riser, 4" diameter, 9 1/2" |  | 140 | 21 | 119
000651203 | 065-120-3 | Riser, 4" diameter, 11 1/2" |  | 140 | 21 | 119
000651213 | 065-121-3 | Riser, 4" diameter, 15 1/2" * |  | 94 | 14.1 | 79.9
000651223 | 065-122-3 | Riser, 4" diameter, 16 1/2" |  | 140 | 21 | 119
000651233 | 065-123-3 | Riser, 4" diameter, 17 1/2" |  | 140 | 21 | 119
000651243 | 065-124-3 | Riser, 4" diameter, 21 1/2" |  | 140 | 21 | 119
000651253 | 065-125-3 | Riser, 4" diameter, 23 1/2" |  | 140 | 21 | 119
000651263 | 065-126-3 | Riser, 4" diameter, 27 1/2" * |  | 94 | 14.1 | 79.9
000651273 | 065-127-3 | Riser, 4" diameter, 28 1/2" |  | 140 | 21 | 119
000651283 | 065-128-3 | Riser, 4" diameter, 29 1/2" |  | 140 | 21 | 119
000651293 | 065-129-3 | Riser, 4" diameter, 33 1/2" |  | 179 | 26.85 | 152.15
000651303 | 065-130-3 | Riser, 4" diameter, 35 1/2" |  | 179 | 26.85 | 152.15
000651313 | 065-131-3 | Riser, 4" diameter, 39 1/2" |  | 179 | 26.85 | 152.15
000651323 | 065-132-3 | Riser, 4" diameter, 40 1/2" |  | 179 | 26.85 | 152.15
000651333 | 065-133-3 | Riser, 4" diameter, 41 1/2" |  | 179 | 26.85 | 152.15
000651603 | 065-160-3 | Riser, 4" diameter, 19 1/2" * |  | 94 | 14.1 | 79.9
000651613 | 065-161-3 | Riser, 4" diameter, 20 1/2" |  | 140 | 21 | 119
000651623 | 065-162-3 | Riser, 4" diameter, 31 1/2" |  | 179 | 26.85 | 152.15
000651633 | 065-163-3 | Riser, 4" diameter, 32 1/2" |  | 179 | 26.85 | 152.15
000651653 | 065-165-3 | Riser, 4" diameter, 13 1/2" |  | 140 | 21 | 119
000651663 | 065-166-3 | Riser, 4" diameter, 25 1/2" |  | 140 | 21 | 119
000651673 | 065-167-3 | Riser, 4" diameter, 37 1/2" |  | 179 | 26.85 | 152.15
000651873 | 065-187-3 | Riser, 4" diameter, 53 1/2" |  | 179 | 26.85 | 152.15
000651943 | 065-194-3 | Riser, 4" diameter, 45 1/2" |  | 179 | 26.85 | 152.15
000651983 | 065-198-3 | Riser, 4" diameter, 42 1/2" |  | 179 | 26.85 | 152.15
000652033 | 065-203-3 | Riser, 4" diameter, 49 1/2" |  | 179 | 26.85 | 152.15
000652473 | 065-247-3 | Riser, 4" diameter, 50 1/2" |  | 179 | 26.85 | 152.15
000652603 | 065-260-3 | Riser, 4" diameter, 22 1/2" |  | 140 | 21 | 119
000652653 | 065-265-3 | Riser, 4" diameter, 47 1/2" |  | 179 | 26.85 | 152.15
000652893 | 065-289-3 | Riser, 4" diameter, 4 1/2" |  | 140 | 21 | 119
000652993 | 065-299-3 | Riser, 4" diameter, 6 1/2" |  | 140 | 21 | 119
000653003 | 065-300-3 | Riser, 4" diameter, 10 1/2" * |  | 94 | 14.1 | 79.9
000653013 | 065-301-3 | Riser, 4" diameter, 14 1/2" |  | 140 | 21 | 119
000653023 | 065-302-3 | Riser, 4" diameter, 18 1/2" |  | 140 | 21 | 119
000653033 | 065-303-3 | Riser, 4" diameter, 26 1/2" |  | 140 | 21 | 119
000653043 | 065-304-3 | Riser, 4" diameter, 30 1/2" |  | 179 | 26.85 | 152.15
000653053 | 065-305-3 | Riser, 4" diameter, 34 1/2" |  | 179 | 26.85 | 152.15
000653063 | 065-306-3 | Riser, 4" diameter, 38 1/2" |  | 179 | 26.85 | 152.15
000653073 | 065-307-3 | Riser, 4" diameter, 12 1/2" * |  | 94 | 14.1 | 79.9
000653083 | 065-308-3 | Riser, 4" diameter, 24 1/2" |  | 140 | 21 | 119
000653093 | 065-309-3 | Riser, 4" diameter, 36 1/2" |  | 179 | 26.85 | 152.15
000653103 | 065-310-3 | Riser, 4" diameter, 44 1/2" |  | 179 | 26.85 | 152.15
000653193 | 065-319-3 | Riser, 4" diameter, 51 1/2" |  | 179 | 26.85 | 152.15
000654463 | 065-446-3 | Riser, 4" diameter, 5 1/2" |  | 140 | 21 | 119
000657833 | 065-783-3 | Riser, 4" diameter, 55 1/2" |  | 179 | 26.85 | 152.15
000657983 | 065-798-3 | Riser, 4" diameter, spec. length, (price varies w/size) |  |  | 0 | 0
000672585 | 067-258-5 | Plug, Conduit Junction Box, 2 1/4 straight thread (Petroleum CPT only) |  | 67 | 10.05 | 56.95
000672585 | 067-258-5 | Plug, Mach 2, 1/4 UN CVR Red |  | 67 | 10.05 | 56.95
000672595 | 067-259-5 | Plug, Conduit Junction Box, 2 1/4 straight thread (AG CPT only) |  | 95 | 14.25 | 80.75
000672653 | 067-265-3 | Plug 2 NPT with O-ring |  | 95 | 14.25 | 80.75
000672781 | 067-278-1 | Poppet, Check Valve |  | 133 | 19.95 | 113.05
000672815 | 067-281-5 | Plug, Assy Conduit Box |  | 58 | 8.7 | 49.3
000672835 | 067-283-5 | Plug, Assy Wiring Compartment |  | 59 | 8.85 | 50.15
000710471 | 071-047-1 | Relay, Franklin Mtr St (for 880-056-5 & 880-057-5) |  | 57 | 8.55 | 48.45
000721041 | 072-104-1 | O-ring, conduit seal (2 required) |  | 4 | 0.6 | 3.4
000721071 | 072-107-1 | O-ring, -236 Buna, Check Valve Seat |  | 4 | 0.6 | 3.4
000721081 | 072-108-1 | O-ring, packer assembly (3 required) |  | 13 | 1.95 | 11.05
000721101 | 072-110-1 | O-ring, -114 Buna, Nozzle |  | 3 | 0.45 | 2.55
000721293 | 072-129-3 | Ring, 6" PET Packer Brass |  | 11 | 1.65 | 9.35
000721901 | 072-190-1 | Capacitor Cover O-ring (-233) (Petroleum) |  | 3 | 0.45 | 2.55
000721931 | 072-193-1 | O-ring, Connector Yoke, 7/8 |  | 4 | 0.6 | 3.4
000722405 | 072-240-5 | O-ring, Pacman .210 |  | 12 | 1.8 | 10.2
000723091 | 072-309-1 | O-ring, 225 Viton V75 |  | 4 | 0.6 | 3.4
000724921 | 072-492-1 | Ring, Snap |  | 3 | 0.45 | 2.55
000725411 | 072-541-1 | O-ring, yoke, -118 Viton V121 |  | 4 | 0.6 | 3.4
000725421 | 072-542-1 | O-ring Viton 7 1/2 (-443) (AG) |  | 69 | 10.35 | 58.65
000725431 | 072-543-1 | Capacitor Cover O-ring (-233) (old style AG) |  | 12 | 1.8 | 10.2
000725741 | 072-574-1 | O-ring (-130) |  | 18 | 2.7 | 15.3
000725781 | 072-578-1 | O-ring |  | 9 | 1.35 | 7.65
000726421 | 072-642-1 | Guide Bushing O-ring (-112) Extract Head Flange |  | 9 | 1.35 | 7.65
000726561 | 072-656-1 | O-ring GFLT (-928) |  | 32 | 4.8 | 27.2
000726861 | 072-686-1 | O-ring (-228) (used on 2” plug; Item 9) |  | 35 | 5.25 | 29.75
000726891 | 072-689-1 | Internal Retaining Ring |  | 13 | 1.95 | 11.05
000726951 | 072-695-1 | O-ring (-366) |  | 221 | 33.15 | 187.85
000726961 | 072-696-1 | O-ring (-439) |  | 289 | 43.35 | 245.65
000726971 | 072-697-1 | External Retaining Ring |  | 12 | 1.8 | 10.2
000726991 | 072-699-1 | O-ring -240 Viton V75 Check Valve |  | 18 | 2.7 | 15.3
000727001 | 072-700-1 | O-ring (-223) |  | 4 | 0.6 | 3.4
000727121 | 072-712-1 | O-ring -218 Viton V75 |  | 12 | 1.8 | 10.2
000727141 | 072-714-1 | O-ring -255 Viton V75 |  | 24 | 3.6 | 20.4
000727181 | 072-718-1 | O-ring, Packer Manifold, 7 1/2 Viton (-443) |  | 59 | 8.85 | 50.15
000760853 | 076-085-3 | Seat, 6 PET Check Valve |  | 95 | 14.25 | 80.75
000763805 | 076-380-5 | Seal, Pacman, .210, PGK GFLT Viton |  | 41 | 6.15 | 34.85
000785223 | 078-522-3 | Conduit Sleeve |  | 39 | 5.85 | 33.15
000791491 | 079-149-1 | Spring, Check Valve |  | 3 | 0.45 | 2.55
000791611 | 079-161-1 | Spring, 6 PET Check Valve |  | 4 | 0.6 | 3.4
000794251 | 079-425-1 | Line Contactor Relay, 120 Volt |  | 91 | 13.65 | 77.35
000808581 | 080-858-1 | Toggle Switch (for 880-041-5, 880-045-5, 880-046-5) |  | 56 | 8.4 | 47.6
000814971 | 081-497-1 | Tubing, Coiled, 3/8 OD x 18' |  | 3 | 0.45 | 2.55
000853301 | 085-330-1 | Vent tubing |  | 6 | 0.9 | 5.1
000860101 | 086-010-1 | Line Steel Vent |  | 180 | 27 | 153
001010545 | 101-054-5 | Accumulator Assembly |  | 632 | 94.8 | 537.2
001084965 | 108-496-5 | Conduit Junction Box, single opening, 2 NPT (2 wire) |  | 110 | 16.5 | 93.5
001100385 | 110-038-5 | Conduit seal assy (5 wire) |  | 110 | 16.5 | 93.5
001100645 | 110-064-5 | Conduit Box & Yoke Assembly - 5 Wire |  | 2331 | 349.65 | 1981.35
001110654 | 111-065-4 | Cap & Stem assembly for check valve |  | 95 | 14.25 | 80.75
001110925 | 111-092-5 | Capacitor, 17.5 MFD, for .33 & .75 HP motor (for 880-045-5) |  | 110 | 16.5 | 93.5
001110925 | 111-092-5 | Capacitor,17.5 MFD (for .33 & .75 HP single phase motors) |  | 110 | 16.5 | 93.5
001116615 | 111-661-5 | Capacitor, 25 MFD, for 1.5 HP motors (for 880-046-5) |  | 126 | 18.9 | 107.1
001116615 | 111-661-5 | Capacitor, 25 MFD (for 1.5 HP single phase motor) |  | 126 | 18.9 | 107.1
001116905 | 111-690-5 | 50 MFD Capacitor (for IQ box w/ 2HP capacitor) |  | 172 | 25.8 | 146.2
001130845 | 113-084-5 | Capacitor Cover, P33R1, with O-ring * |  | 59 | 8.85 | 50.15
001130855 | 113-085-5 | Capacitor Cover, P75S1, with O-ring * |  | 59 | 8.85 | 50.15
001130985 | 113-098-5 | Capacitor Clip |  | 12 | 1.8 | 10.2
001131055 | 113-105-5 | Connector Assembly, Two-Wire |  | 41 | 6.15 | 34.85
001131055 | 113-105-5 | Connector, Male (2 wire: Black, Orange) |  | 41 | 6.15 | 34.85
001133195 | 113-319-5 | Capacitor Cover, P150S1, with O-ring * |  | 59 | 8.85 | 50.15
001135365 | 113-536-5 | Capacitor Cover, X3P150S1, with O-ring * |  | 59 | 8.85 | 50.15
001135555 | 113-555-5 | Connector Assembly, Three-Wire |  | 73 | 10.95 | 62.05
001135555 | 113-555-5 | Connector, Male (3 wire: Black, Red, Orange) |  | 73 | 10.95 | 62.05
001140175 | 114-017-5 | FXV Snap Tap Kit |  | 141 | 21.15 | 119.85
001160565 | 116-056-5 | Line Leak Detector Unit, FX1V, Gas |  | 457 | 68.55 | 388.45
001160575 | 116-057-5 | Line Leak Detector Unit, FX2V, Gas |  | 744 | 111.6 | 632.4
001160585 | 116-058-5 | Line Leak Detector Unit, FX1DV, Diesel |  | 457 | 68.55 | 388.45
001160595 | 116-059-5 | Line Leak Detector Unit, FX2DV, Diesel |  | 744 | 111.6 | 632.4
001160625 | 116-062-5 | Vent Kit, 6” Big Maxxum Big Flo |  | 218 | 32.7 | 185.3
001171825 | 117-182-5 | Maxxum Big Flo Diaphragm Valve |  | 1860 | 279 | 1581
001230395 | 123-039-5 | Vacuum Breaker |  | 418 | 62.7 | 355.3
001363395 | 136-339-5 | Discharge Head Kit w/ Gasket, AG, 1.5” |  | 169 | 25.35 | 143.65
001380495 | 138-049-5 | Holder, 6 PET Check Valve |  | 172 | 25.8 | 146.2
001390404 | 139-040-4 | Eyebolt / Plug Assy |  | 11 | 1.65 | 9.35
001440915 | 144-091-5 | Pigtail Kit, 17 feet, 5.2 m (Standard & Quantum) |  | 154 | 23.1 | 130.9
001440915 | 144-091-5 | Pigtail Kit, 17 feet, 5.2 m (Standard & Quantum) |  | 154 | 23.1 | 130.9
001441505 | 144-150-5 | Kit, Pressurestat O-ring |  | 28 | 4.2 | 23.8
001441625 | 144-162-5 | Pigtail Kit, 17 feet, 5.2 m (Standard & Quantum) AG |  | 161 | 24.15 | 136.85
001441625 | 144-162-5 | Pigtail Kit, 17 feet, 5.2 m (Standard & Quantum) AG |  | 161 | 24.15 | 136.85
001441635 | 144-163-5 | Bushing, Conduit Assembly, AG |  | 67 | 10.05 | 56.95
001441811 | 144-181-1 | UMP Fastener Kit (Contains bolts & washers) |  | 13 | 1.95 | 11.05
001441835 | 144-183-5 | Kit, Stainless Steel Check Valve & Spring, (Petroleum) |  | 54 | 8.1 | 45.9
001441845 | 144-184-5 | Kit, Stainless Steel Check Valve & Spring, (old style AG) |  | 97 | 14.55 | 82.45
001441865 | 144-186-5 | Kit, Check Valve |  | 548 | 82.2 | 465.8
001441915 | 144-191-5 | Kit, Siphon |  | 683 | 102.45 | 580.55
001441931 | 144-193-1 | Packer Discharge Seal (.240 thick) Viton |  | 26 | 3.9 | 22.1
001441945 | 144-194-5 | Kit, Retrofit “Trapper”, (adds 3.25” to pump length) |  | 380 | 57 | 323
001441955 | 144-195-5 | Kit, Brass Check Valve & Spring, (pumps built prior to 1973) |  | 128 | 19.2 | 108.8
001441961 | 144-196-1 | Packer Discharge Seal (.240” thick) GFLT |  | 43 | 6.45 | 36.55
001441994 | 144-199-4 | 1/8 NPT male Snap Tap stem kit (includes 2 stems) |  | 180 | 27 | 153
001442015 | 144-201-5 | Bushing, Conduit Assembly |  | 58 | 8.7 | 49.3
001442035 | 144-203-5 | Kit, Flexible Tubing (No siphon check valve) |  | 116 | 17.4 | 98.6
001442055 | 144-205-5 | Kit, Flexible Siphon Conversion (with siphon check valve) |  | 189 | 28.35 | 160.65
001442125 | 144-212-5 | Kit, Repair, Quick Set O-ring (for adjusting column pipe) |  | 41 | 6.15 | 34.85
001442205 | 144-220-5 | UMP Hardware Kit (Kit includes 144-181-1 and 031-136-1 listed below) |  | 38 | 5.7 | 32.3
001442215 | 144-221-5 | Conduit Junction Box, dual opening, 2 1/4 “ NPT (3 hole for CPT only) |  | 558 | 83.7 | 474.3
001442235 | 144-223-5 | Kit, Check Valve & Spring |  | 96 | 14.4 | 81.6
001442245 | 144-224-5 | Kit, 17.5 MFD Capacitor (for .33 & .75 HP motor) |  | 110 | 16.5 | 93.5
001442255 | 144-225-5 | Kit, 25 MFD Capacitor (for 1.5 HP motors) |  | 126 | 18.9 | 107.1
001442265 | 144-226-5 | Kit, 3 Wire Yoke & Conduit Box (Black, Red, Orange) |  | 644 | 96.6 | 547.4
001442295 | 144-229-5 | Kit, 2 Wire Yoke & Conduit Box (Black, Black) |  | 601 | 90.15 | 510.85
001442305 | 144-230-5 | Kit, Siphon Nozzle |  | 57 | 8.55 | 48.45
001443075 | 144-307-5 | Kit, Siphon Components (retrofit) |  | 666 | 99.9 | 566.1
001443145 | 144-314-5 | Kit, Expansion Relief 6" Big Flo |  | 576 | 86.4 | 489.6
001443151 | 144-315-1 | Kit, Epoxy Scotch Cast, 1 per kit |  | 48 | 7.2 | 40.8
001443175 | 144-317-5 | Kit, Check Valve |  | 1110 | 166.5 | 943.5
001443195 | 144-319-5 | Kit, 5 Wire Connector Assembly |  | 467 | 70.05 | 396.95
001443205 | 144-320-5 | Kit, Lock Down Screw |  | 488 | 73.2 | 414.8
001443215 | 144-321-5 | Kit, 5 Wire Bushing |  | 343 | 51.45 | 291.55
001443225 | 144-322-5 | Kit, Expansion Relief |  | 522 | 78.3 | 443.7
001443265 | 144-326-5 | Kit, Transducer Adapter (for use with Veeder Root PLLD) |  | 160 | 24 | 136
001443274 | 144-327-4 | Flex Syphon/UMP, RJ/Q/RJ FL |  | 35 | 5.25 | 29.75
001443284 | 144-328-4 | Flex Siphon/Ump, T/FL Pump Kit |  | 41 | 6.15 | 34.85
001443365 | 144-336-5 | Floating Suction Adapter Kit (Adapter only - no arm included) 3" MNPT |  | 420 | 63 | 357
001443375 | 144-337-5 | Check Valve Assembly |  | 2122 | 318.3 | 1803.7
001443675 | 144-367-5 | Kit, 50 MFD Capacitor (for 2HP - Quantum only) |  | 172 | 25.8 | 146.2
001443695 | 144-369-5 | Quantum SpikeCheck Repair Kit |  | 185 | 27.75 | 157.25
001443715 | 144-371-5 | Kit, Check Valve Repair (Quantum Siphon) |  | 95 | 14.25 | 80.75
001470161 | 147-016-1 | Replacement LED (Isotrol only) |  | 73 | 10.95 | 62.05
001510024 | 151-002-4 | Manifold |  | 644 | 96.6 | 547.4
001662505 | 166-250-5 | Plug Assembly Repair, Plastic, for Functional Element |  | 4 | 0.6 | 3.4
001710711 | 171-071-1 | Replacement Relay (120VAC Coil) (Isotrol) |  | 146 | 21.9 | 124.1
001710721 | 171-072-1 | Replacement Relay (240VAC Coil) (IQ) |  | 146 | 21.9 | 124.1
001720035 | 172-003-5 | Adjustable Functional Element O-ring Kit |  | 11 | 1.65 | 9.35
001720365 | 172-036-5 | Kit, Pump O-ring (Petroleum) |  | 26 | 3.9 | 22.1
001720375 | 172-037-5 | Kit, Pump O-ring (AG) |  | 79 | 11.85 | 67.15
001760255 | 176-025-5 | Extractor nipple seal with siphon |  | 441 | 66.15 | 374.85
001760265 | 176-026-5 | Extractor nipple seal without siphon |  | 441 | 66.15 | 374.85
001760335 | 176-033-5 | Contractor Plug Lead Seal (2 or 3 wire), Petroleum* |  | 57 | 8.55 | 48.45
001760675 | 176-067-5 | Contractor Plug Lead Seal (2 or 3 wire), AG |  | 128 | 19.2 | 108.8
001815205 | 181-520-5 | FX Tester |  | 4098 | 614.7 | 3483.3
001882415 | 188-241-5 | Siphon Check Valve Assembly |  | 91 | 13.65 | 77.35
001882415 | 188-241-5 | Siphon Check Valve (Petroleum) |  | 91 | 13.65 | 77.35
001882415 | 188-241-5 | Siphon Check Valve |  | 91 | 13.65 | 77.35
001882415 | 188-241-5 | Siphon Check Valve |  | 91 | 13.65 | 77.35
001882415 | 188-241-5 | Siphon Check Valve Assembly |  | 91 | 13.65 | 77.35
002082715 | 208-271-5 | Expansion Relief Valve |  | 188 | 28.2 | 159.8
002440065 | 244-006-5 | Pressure Transducer, non-conduit (CPT models) |  | 1740 | 261 | 1479
002440075 | 244-007-5 | Capacitor Kit, 40 MFD (for upgrading to the 2 HP single phase motor) |  | 172 | 25.8 | 146.2
002470015 | 247-001-5 | Pilot Light Assembly, 220 Volt |  | 41 | 6.15 | 34.85
002470015 | 247-001-5 | Pilot Light Assy, 220 Volt |  | 41 | 6.15 | 34.85
003130025 | 313-002-5 | Connector Yoke Assembly (2 wire) |  | 141 | 21.15 | 119.85
003130155 | 313-015-5 | Connector Yoke Assembly (2 wire) AG |  | 166 | 24.9 | 141.1
003130195 | 313-019-5 | Kit, Yoke Assembly with connector (3 wire) |  | 292 | 43.8 | 248.2
003130375 | 313-037-5 | Connector, Yoke Repair (2 wire: Black, Black - Int'l) |  | 106 | 15.9 | 90.1
003130385 | 313-038-5 | Connector, Yoke Repair (3 wire: Black, Red, Orange) |  | 106 | 15.9 | 90.1
003230015 | 323-001-5 | Adjustable Functional Element (Petroleum) |  | 318 | 47.7 | 270.3
003230025 | 323-002-5 | Adjustable Functional Element (old style AG) |  | 426 | 63.9 | 362.1
003440015 | 344-001-5 | Kit, Pump Service (Standard AG Models) |  | 470 | 70.5 | 399.5
003440025 | 344-002-5 | Kit, Pump Service for Standard Models |  | 335 | 50.25 | 284.75
003440035 | 344-003-5 | Quantum Pump Service Kit |  | 426 | 63.9 | 362.1
003440045 | 344-004-5 | Kit, Pressurestat (Adjustable) |  | 393 | 58.95 | 334.05
003640085 | 364-008-5 | Pacman, P33R1 |  | 991 | 148.65 | 842.35
003640095 | 364-009-5 | Pacman, P75S1 |  | 991 | 148.65 | 842.35
003640105 | 364-010-5 | Pacman, P150S1 |  | 972 | 145.8 | 826.2
003640255 | 364-025-5 | Pacman, X3P150S1 |  | 972 | 145.8 | 826.2
003880805 | 388-080-5 | Kit, Quantum SpikeCheck (used with VR PLLD & WPLLD) |  | 335 | 50.25 | 284.75
003880815 | 388-081-5 | Kit, Quantum SpikeCheck (non-pressure relieving) |  | 335 | 50.25 | 284.75
007803111 | 780-311-1 | Tubing, Nylon Clear 3/8 OD |  | 4 | 0.6 | 3.4
008520245 | 852-024-5 | Petroleum UMP with 2 inch Floating Suction Adapter | UMP33U1 | 764 | 114.6 | 649.4
008520255 | 852-025-5 | Petroleum UMP with 2 inch Floating Suction Adapter | UMP75U1 | 868 | 130.2 | 737.8
008520385 | 852-038-5 | Petroleum UMP with 1.5 inch Discharge Head | UMP150U1 w/ 1.5” DH | 1080 | 162 | 918
008520425 | 852-042-5 | Petroleum UMP with 2 inch Floating Suction Adapter | UMP150U1 | 1129 | 169.35 | 959.65
008520705 | 852-070-5 | Petroleum UMP with 1.5 inch Discharge Head | UMP33U1 w/ 1.5” DH | 706 | 105.9 | 600.1
008520715 | 852-071-5 | Petroleum UMP with 1.5 inch Discharge Head | UMP75U1 w/ 1.5” DH | 878 | 131.7 | 746.3
008520835 | 852-083-5 | Alcohol Gas UMP | AGUMP33R1 | 891 | 133.65 | 757.35
008520845 | 852-084-5 | Alcohol Gas UMP | AGUMP75S1 | 1000 | 150 | 850
008520855 | 852-085-5 | Alcohol Gas UMP | AGUMP150S1 | 1248 | 187.2 | 1060.8
008521195 | 852-119-5 | Petroleum UMP with 1.5 inch Discharge Head | X3UMP150U1 w/ 1.5” DH | 1140 | 171 | 969
008521285 | 852-128-5 | Alcohol Gas UMP | X3AGUMP150S1 | 1311 | 196.65 | 1114.35
008521325 | 852-132-5 | Alcohol Gas UMP with 2 inch Floating Suction Adapter | X3AGUMP150S1 w/ 2 FSA | 1430 | 214.5 | 1215.5
008521345 | 852-134-5 | Alcohol Gas UMP with 2 inch Floating Suction Adapter | AGUMP33R1 w/ 2 FSA | 1054 | 158.1 | 895.9
008521355 | 852-135-5 | Alcohol Gas UMP with 2 inch Floating Suction Adapter | AGUMP75S1 w/ 2 FSA | 1156 | 173.4 | 982.6
008521365 | 852-136-5 | Alcohol Gas UMP with 2 inch Floating Suction Adapter | AGUMP150S1 w/ 2 FSA | 1398 | 209.7 | 1188.3
008521755 | 852-175-5 | Variable Speed Alcohol - Gas UMP | AGUMP200T20-2Y | 1477 | 221.55 | 1255.45
008521815 | 852-181-5 | Variable Speed Alcohol - Gas UMP | AGUMP200T20-2Y w/ FSA | 1645 | 246.75 | 1398.25
008521985 | 852-198-5 | Petroleum UMP | UMP33U1 | 620 | 93 | 527
008521995 | 852-199-5 | Petroleum UMP | UMP75U1 | 727 | 109.05 | 617.95
008522005 | 852-200-5 | Petroleum UMP | UMP150U1 | 1000 | 150 | 850
008522025 | 852-202-5 | Petroleum UMP | X3UMP150U1 | 1055 | 158.25 | 896.75
008522035 | 852-203-5 | Petroleum UMP with 2 inch Floating Suction Adapter | X3UMP150U1 | 1186 | 177.9 | 1008.1
008522095 | 852-209-5 | Variable Speed - Petroleum UMP | UMP200U20-2Y | 1219 | 182.85 | 1036.15
008522105 | 852-210-5 | Variable Speed - Petroleum UMP | UMP200U20-2Y w/FSA | 1368 | 205.2 | 1162.8
008522215 | 852-221-5 | Petroleum UMP | UMP200U1-3 | 1056 | 158.4 | 897.6
008522225 | 852-222-5 | Alcohol Gas UMP | AGUMP200S1-3 | 1314 | 197.1 | 1116.9
008522235 | 852-223-5 | Petroleum UMP with 2 inch Floating Suction Adapter | UMP200U1-3 | 1192 | 178.8 | 1013.2
008522245 | 852-224-5 | Alcohol Gas UMP with 2 inch Floating Suction Adapter | AGUMP200S1-3 w/ 2 FSA | 1445 | 216.75 | 1228.25
008522255 | 852-225-5 | Petroleum UMP with 1.5 inch Discharge Head | UMP200U1-3 w/ 1.5” DH | 1155 | 173.25 | 981.75
008800091 | 880-009-1 | On/Off switch, Explosion-Proof |  | 707 | 106.05 | 600.95
008800415 | 880-041-5 | Control Box with 115 VAC Coil for 1/3 HP, 3/4 HP, 1 1/2 HP, 2HP Motors |  | 164 | 24.6 | 139.4
008800425 | 880-042-5 | Control Box with 230 VAC Coil for 1/3 HP, 3/4 HP, 1 1/2 HP, 2HP Motors |  | 164 | 24.6 | 139.4
008800455 | 880-045-5 | Control Box with Capacitor with 115 VAC Coil for 1/3 HP, 3/4 HP Motors |  | 451 | 67.65 | 383.35
008800465 | 880-046-5 | Control Box with Capacitor with 115 VAC Coil for 1 1/2 HP Motors |  | 462 | 69.3 | 392.7
008800471 | 880-047-1 | Isotrol Control Box 120v w/relay (Isotrol 1-8R) |  | 521 | 78.15 | 442.85
008800491 | 880-049-1 | Isotrol Control Box 120v w/out relay (Isotrol 1-8) |  | 423 | 63.45 | 359.55
008800511 | 880-051-1 | IQ Control Box 120V |  | 478 | 71.7 | 406.3
008800581 | 880-058-1 | IQ Control Box w/ 2HP fixed speed capacitor |  | 665 | 99.75 | 565.25
008817695 | 881-769-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P33R1 T1 | 1721 | 258.15 | 1462.85
008817705 | 881-770-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P33R1 T2 | 1721 | 258.15 | 1462.85
008817715 | 881-771-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P33R1 T3 | 1828 | 274.2 | 1553.8
008817725 | 881-772-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P75S1 T1 | 2368 | 355.2 | 2012.8
008817735 | 881-773-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P75S1 T2 | 2368 | 355.2 | 2012.8
008817745 | 881-774-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P75S1 T3 | 2500 | 375 | 2125
008817755 | 881-775-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P150S1 T1 | 3026 | 453.9 | 2572.1
008817765 | 881-776-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P150S1 T2 | 3026 | 453.9 | 2572.1
008817775 | 881-777-5 | 4in - Standard STP Quick Set (Adjustable) Final Assemblies | P150S1 T3 | 3156 | 473.4 | 2682.6
008834141 | 883-414-1 | Riser Flange, 6" diameter, 4" ** |  | 660 | 99 | 561
008834151 | 883-415-1 | Riser Flange, 6" diameter, 5" |  | 670 | 100.5 | 569.5
008834161 | 883-416-1 | Riser Flange, 6" diameter, 6" ** |  | 687 | 103.05 | 583.95
008834171 | 883-417-1 | Riser Flange, 6" diameter, 7" |  | 687 | 103.05 | 583.95
008834181 | 883-418-1 | Riser Flange, 6" diameter, 8" ** |  | 696 | 104.4 | 591.6
008834191 | 883-419-1 | Riser Flange, 6" diameter, 10" ** |  | 723 | 108.45 | 614.55
008834201 | 883-420-1 | Riser Flange, 6" diameter, 11" |  | 736 | 110.4 | 625.6
008834211 | 883-421-1 | Riser Flange, 6" diameter, 13" |  | 759 | 113.85 | 645.15
008834221 | 883-422-1 | Riser Flange, 6" diameter, 16" |  | 784 | 117.6 | 666.4
008834231 | 883-423-1 | Riser Flange, 6" diameter, 21" |  | 835 | 125.25 | 709.75
008834241 | 883-424-1 | Riser Flange, 6" diameter, 23" |  | 864 | 129.6 | 734.4
008834251 | 883-425-1 | Riser Flange, 6" diameter, 24" |  | 876 | 131.4 | 744.6
008834261 | 883-426-1 | Riser Flange, 6" diameter, 27" |  | 900 | 135 | 765
008834271 | 883-427-1 | Riser Flange, 6" diameter, 30" |  | 990 | 148.5 | 841.5
008834281 | 883-428-1 | Riser Flange, 6" diameter, 36" |  | 990 | 148.5 | 841.5
008834291 | 883-429-1 | Riser Flange, 6" diameter, 42" |  | 1061 | 159.15 | 901.85
008834301 | 883-430-1 | Riser Flange, 6" diameter, 48" |  | 1128 | 169.2 | 958.8
008834311 | 883-431-1 | Riser Flange, 6" diameter, 51" |  | 1166 | 174.9 | 991.1
008840315 | 884-031-5 | Retractor, Overhead, w/36" (91.4 cm) Post |  | 306 | 45.9 | 260.1
008840325 | 884-032-5 | Retractor, Overhead, w/48" (121.9 cm) Post |  | 316 | 47.4 | 268.6
008840335 | 884-033-5 | Retractor, Overhead, w/78" (198.1 cm) Post |  | 348 | 52.2 | 295.8
008840345 | 884-034-5 | Retractor, Overhead |  | 285 | 42.75 | 242.25
0330020-843 | 330020-843 | Sump-Dri Kit |  | 119 | 17.85 | 101.15
0410064-002 | 410064-002 | O-ring, Conduit Sleeve |  | 3 | 0.45 | 2.55
0410106-001 | 410106-001 | Pipe Plug, 2 NPT |  | 13 | 1.95 | 11.05
0410140-001 | 410140-001 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P75U1 RJ1 | 1888 | 283.2 | 1604.8
0410140-002 | 410140-002 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P75U1 RJ2 | 1888 | 283.2 | 1604.8
0410140-003 | 410140-003 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P75U1 RJ3 | 1993 | 298.95 | 1694.05
0410140-004 | 410140-004 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P75U1 RJ1 FSA | 2033 | 304.95 | 1728.05
0410140-005 | 410140-005 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P75U1 RJ2 FSA | 2033 | 304.95 | 1728.05
0410140-006 | 410140-006 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P75U1 RJ3 FSA | 2146 | 321.9 | 1824.1
0410140-019 | 410140-019 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP75S1 RJ1 | 2388 | 358.2 | 2029.8
0410140-020 | 410140-020 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP75S1 RJ2 | 2388 | 358.2 | 2029.8
0410140-021 | 410140-021 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP75S1 RJ3 | 2432 | 364.8 | 2067.2
0410140-022 | 410140-022 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP75S1 RJ1 FSA | 2541 | 381.15 | 2159.85
0410140-023 | 410140-023 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP75S1 RJ2 FSA | 2541 | 381.15 | 2159.85
0410140-024 | 410140-024 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP75S1 RJ3 FSA | 2590 | 388.5 | 2201.5
0410140-086 | 410140-086 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP75S1 RA1 | 2895 | 434.25 | 2460.75
0410140-087 | 410140-087 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP75S1 RA2 | 2895 | 434.25 | 2460.75
0410140-088 | 410140-088 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP75S1 RA3 | 3009 | 451.35 | 2557.65
0410140-089 | 410140-089 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP75S1 RA1 FSA | 3044 | 456.6 | 2587.4
0410140-090 | 410140-090 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP75S1 RA2 FSA | 3044 | 456.6 | 2587.4
0410140-091 | 410140-091 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP75S1 RJ3 FSA | 3158 | 473.7 | 2684.3
0410141-001 | 410141-001 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P150U1 RJ1 | 2410 | 361.5 | 2048.5
0410141-002 | 410141-002 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P150U1 RJ2 | 2410 | 361.5 | 2048.5
0410141-003 | 410141-003 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P150U1 RJ3 | 2513 | 376.95 | 2136.05
0410141-004 | 410141-004 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P150U1 RJ1 FSA | 2554 | 383.1 | 2170.9
0410141-005 | 410141-005 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P150U1 RJ2 FSA | 2554 | 383.1 | 2170.9
0410141-006 | 410141-006 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P150U1 RJ3 FSA | 2663 | 399.45 | 2263.55
0410141-019 | 410141-019 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP150S1 RJ1 | 2904 | 435.6 | 2468.4
0410141-020 | 410141-020 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP150S1 RJ2 | 2904 | 435.6 | 2468.4
0410141-021 | 410141-021 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP150S1 RJ3 | 2962 | 444.3 | 2517.7
0410141-022 | 410141-022 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP150S1 RJ1 FSA | 3054 | 458.1 | 2595.9
0410141-023 | 410141-023 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP150S1 RJ2 FSA | 3054 | 458.1 | 2595.9
0410141-024 | 410141-024 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP150S1 RJ3 FSA | 3112 | 466.8 | 2645.2
0410141-088 | 410141-088 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP150S1 RA1 | 3343 | 501.45 | 2841.55
0410141-089 | 410141-089 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP150S1 RA2 | 3343 | 501.45 | 2841.55
0410141-090 | 410141-090 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP150S1 RA3 | 3457 | 518.55 | 2938.45
0410141-091 | 410141-091 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP150S1 RA1 FSA | 3488 | 523.2 | 2964.8
0410141-092 | 410141-092 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP150S1 RA2 FSA | 3488 | 523.2 | 2964.8
0410141-093 | 410141-093 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP150S1 RA3 FSA | 3603 | 540.45 | 3062.55
0410142-001 | 410142-001 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P200U1-3 RJ1 | 2863 | 429.45 | 2433.55
0410142-002 | 410142-002 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P200U1-3 RJ2 | 2863 | 429.45 | 2433.55
0410142-003 | 410142-003 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P200U1-3 RJ3 | 2966 | 444.9 | 2521.1
0410142-004 | 410142-004 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P200U1-3 RJ1 FSA | 3003 | 450.45 | 2552.55
0410142-005 | 410142-005 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P200U1-3 RJ2 FSA | 3003 | 450.45 | 2552.55
0410142-006 | 410142-006 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | P200U1-3 RJ3 FSA | 3113 | 466.95 | 2646.05
0410142-019 | 410142-019 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP200S1-3 RJ1 | 3349 | 502.35 | 2846.65
0410142-020 | 410142-020 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP200S1-3 RJ2 | 3349 | 502.35 | 2846.65
0410142-021 | 410142-021 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP200S1-3 RJ3 | 3414 | 512.1 | 2901.9
0410142-022 | 410142-022 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP200S1-3 RJ1 FSA | 3498 | 524.7 | 2973.3
0410142-023 | 410142-023 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP200S1-3 RJ2 FSA | 3498 | 524.7 | 2973.3
0410142-024 | 410142-024 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGP200S1-3 RJ3 FSA | 3565 | 534.75 | 3030.25
0410142-063 | 410142-063 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP200S1-3RA1 | 3795 | 569.25 | 3225.75
0410142-064 | 410142-064 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP200S1-3RA2 | 3795 | 569.25 | 3225.75
0410142-065 | 410142-065 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP200S1-3RA3 | 3910 | 586.5 | 3323.5
0410142-066 | 410142-066 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP200S1-3RA1 FSA | 3942 | 591.3 | 3350.7
0410142-067 | 410142-067 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP200S1-3RA2 FSA | 3942 | 591.3 | 3350.7
0410142-068 | 410142-068 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGP200S1-3RA3 FSA | 4057 | 608.55 | 3448.45
0410142-075 | 410142-075 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | PL200U1-3 RJ1 | 2601 | 390.15 | 2210.85
0410142-076 | 410142-076 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | PL200U1-3 RJ2 | 2601 | 390.15 | 2210.85
0410142-077 | 410142-077 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | PL200U1-3 RJ3 | 2695 | 404.25 | 2290.75
0410142-078 | 410142-078 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | PL200U1-3 RJ1 FSA | 2739 | 410.85 | 2328.15
0410142-079 | 410142-079 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | PL200U1-3 RJ2 FSA | 2739 | 410.85 | 2328.15
0410142-080 | 410142-080 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | PL200U1-3 RJ3 FSA | 2843 | 426.45 | 2416.55
0410142-081 | 410142-081 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RJ1 | 3065 | 459.75 | 2605.25
0410142-082 | 410142-082 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RJ2 | 3065 | 459.75 | 2605.25
0410142-083 | 410142-083 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RJ3 | 3126 | 468.9 | 2657.1
0410142-084 | 410142-084 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RJ1 FSA | 3205 | 480.75 | 2724.25
0410142-085 | 410142-085 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RJ2 FSA | 3205 | 480.75 | 2724.25
0410142-086 | 410142-086 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RJ3 FSA | 3268 | 490.2 | 2777.8
0410142-087 | 410142-087 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RA1 | 3518 | 527.7 | 2990.3
0410142-088 | 410142-088 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RA2 | 3518 | 527.7 | 2990.3
0410142-089 | 410142-089 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RA3 | 3596 | 539.4 | 3056.6
0410142-090 | 410142-090 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RA1 FSA | 3625 | 543.75 | 3081.25
0410142-091 | 410142-091 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RA2 FSA | 3625 | 543.75 | 3081.25
0410142-092 | 410142-092 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | AGPL200S1-3 RA3 FSA | 3732 | 559.8 | 3172.2
0410143-001 | 410143-001 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | X3P150U1 RJ1 | 2487 | 373.05 | 2113.95
0410143-002 | 410143-002 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | X3P150U1 RJ2 | 2487 | 373.05 | 2113.95
0410143-003 | 410143-003 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | X3P150U1 RJ3 | 2591 | 388.65 | 2202.35
0410143-004 | 410143-004 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | X3P150U1 RJ1 FSA | 2630 | 394.5 | 2235.5
0410143-005 | 410143-005 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | X3P150U1 RJ2 FSA | 2630 | 394.5 | 2235.5
0410143-006 | 410143-006 | 4in TRJ STP - Quick Set (Adjustable) Final Assemblies | X3P150U1 RJ3 FSA | 2740 | 411 | 2329
0410143-019 | 410143-019 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RJ1 | 2984 | 447.6 | 2536.4
0410143-020 | 410143-020 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RJ2 | 2984 | 447.6 | 2536.4
0410143-021 | 410143-021 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RJ3 | 3038 | 455.7 | 2582.3
0410143-022 | 410143-022 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RJ1 FSA | 3132 | 469.8 | 2662.2
0410143-023 | 410143-023 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RJ2 FSA | 3132 | 469.8 | 2662.2
0410143-024 | 410143-024 | 4in TRJ STP AG - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RJ3 FSA | 3193 | 478.95 | 2714.05
0410143-083 | 410143-083 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RA1 | 3408 | 511.2 | 2896.8
0410143-084 | 410143-084 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RA2 | 3408 | 511.2 | 2896.8
0410143-085 | 410143-085 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RA3 | 3521 | 528.15 | 2992.85
0410143-086 | 410143-086 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RA1 FSA | 3553 | 532.95 | 3020.05
0410143-087 | 410143-087 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RA2 FSA | 3553 | 532.95 | 3020.05
0410143-088 | 410143-088 | 4in RA STP - Quick Set (Adjustable) Final Assemblies | X3AGP150S1 RA3 FSA | 3668 | 550.2 | 3117.8
0410144-001 | 410144-001 | QuickSet Final Assembly (Adjustable) | P200U20-2 RJ1 | 3116 | 467.4 | 2648.6
0410144-002 | 410144-002 | QuickSet Final Assembly (Adjustable) | P200U20-2 RJ2 | 3116 | 467.4 | 2648.6
0410144-003 | 410144-003 | QuickSet Final Assembly (Adjustable) | P200U20-2 RJ3 | 3179 | 476.85 | 2702.15
0410144-004 | 410144-004 | QuickSet Final Assembly (Adjustable) | P200U20-2 RJ1 FSA | 3311 | 496.65 | 2814.35
0410144-005 | 410144-005 | QuickSet Final Assembly (Adjustable) | P200U20-2 RJ2 FSA | 3311 | 496.65 | 2814.35
0410144-006 | 410144-006 | QuickSet Final Assembly (Adjustable) | P200U20-2 RJ3 FSA | 3377 | 506.55 | 2870.45
0410144-007 | 410144-007 | AG Quick Set (Adjustable) Final Assembly | AGP200T20-2 RJ1 | 3270 | 490.5 | 2779.5
0410144-008 | 410144-008 | AG Quick Set (Adjustable) Final Assembly | AGP200T20-2 RJ2 | 3270 | 490.5 | 2779.5
0410144-009 | 410144-009 | AG Quick Set (Adjustable) Final Assembly | AGP200T20-2 RJ3 | 3338 | 500.7 | 2837.3
0410144-010 | 410144-010 | AG Quick Set (Adjustable) Final Assembly | AGP200T20-2 RJ1 FSA | 3468 | 520.2 | 2947.8
0410144-011 | 410144-011 | AG Quick Set (Adjustable) Final Assembly | AGP200T20-2 RJ2 FSA | 3468 | 520.2 | 2947.8
0410144-012 | 410144-012 | AG Quick Set (Adjustable) Final Assembly | AGP200T20-2 RJ3 FSA | 3538 | 530.7 | 3007.3
0410151-001 | 410151-001 | Siphon Cartridge Kit* |  | 208 | 31.2 | 176.8
0410151-002 | 410151-002 | Stainless Steel AG Siphon Cartridge Kit |  | 224 | 33.6 | 190.4
0410151-002 | 410151-002 | Stainless Steel AG Siphon Cartridge Kit |  | 224 | 33.6 | 190.4
0410151-002 | 410151-002 | Stainless Steel AG Siphon Cartridge Kit |  | 224 | 33.6 | 190.4
0410152-001 | 410152-001 | Check Valve Housing Kit |  | 268 | 40.2 | 227.8
0410152-002 | 410152-002 | Check Valve Housing Kit, High Pressure |  | 268 | 40.2 | 227.8
0410152-005 | 410152-005 | RA Check Valve Housing Kit |  | 258 | 38.7 | 219.3
0410152-005 | 410152-005 | RA Check Valve Housing Kit |  | 258 | 38.7 | 219.3
0410152-006 | 410152-006 | RA High Pressure Check Valve Housing Kit |  | 258 | 38.7 | 219.3
0410152-006 | 410152-006 | RA High Pressure Check Valve Housing Kit |  | 258 | 38.7 | 219.3
0410153-001 | 410153-001 | Check Valve Kit |  | 203 | 30.45 | 172.55
0410153-002 | 410153-002 | Check Valve Kit, High Pressure |  | 203 | 30.45 | 172.55
0410154-001 | 410154-001 | O-Ring Kit |  | 146 | 21.9 | 124.1
0410156-001 | 410156-001 | Pigtail Kit, 17 feet, 5.2 m (Red Jacket Submersible Turbine Pump) |  | 131 | 19.65 | 111.35
0410160-001 | 410160-001 | Pipe-Conduit Aluminum |  | 53 | 7.95 | 45.05
0410164-001 | 410164-001 | Capacitor Kit, 17.5 MFD (.75 HP) |  | 107 | 16.05 | 90.95
0410164-002 | 410164-002 | Capacitor Kit, 25 MFD (1.5 HP) |  | 126 | 18.9 | 107.1
0410164-003 | 410164-003 | Capacitor Kit, 40 MFD (2 HP) |  | 167 | 25.05 | 141.95
0410165-001 | 410165-001 | Electrical Connector Kit |  | 214 | 32.1 | 181.9
0410166-001 | 410166-001 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P75U1 RJ | 1885 | 282.75 | 1602.25
0410166-002 | 410166-002 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P75U1 RJ | 1885 | 282.75 | 1602.25
0410166-003 | 410166-003 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P75U1 RJ | 2359 | 353.85 | 2005.15
0410166-010 | 410166-010 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RJ | 2164 | 324.6 | 1839.4
0410166-011 | 410166-011 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RJ | 2164 | 324.6 | 1839.4
0410166-012 | 410166-012 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RJ | 2653 | 397.95 | 2255.05
0410166-019 | 410166-019 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P75U1 RJ FSA | 2034 | 305.1 | 1728.9
0410166-020 | 410166-020 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P75U1 RJ FSA | 2034 | 305.1 | 1728.9
0410166-021 | 410166-021 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P75U1 RJ FSA | 2511 | 376.65 | 2134.35
0410166-028 | 410166-028 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RJ FSA | 2315 | 347.25 | 1967.75
0410166-029 | 410166-029 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RJ FSA | 2315 | 347.25 | 1967.75
0410166-030 | 410166-030 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RJ FSA | 2805 | 420.75 | 2384.25
0410166-073 | 410166-073 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RA | 2676 | 401.4 | 2274.6
0410166-074 | 410166-074 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RA | 2676 | 401.4 | 2274.6
0410166-075 | 410166-075 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RA | 3221 | 483.15 | 2737.85
0410166-076 | 410166-076 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RA FSA | 2826 | 423.9 | 2402.1
0410166-077 | 410166-077 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RA FSA | 2826 | 423.9 | 2402.1
0410166-078 | 410166-078 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP75S1 RA FSA | 3368 | 505.2 | 2862.8
0410173-001 | 410173-001 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P150U1 RJ | 2373 | 355.95 | 2017.05
0410173-002 | 410173-002 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P150U1 RJ | 2373 | 355.95 | 2017.05
0410173-003 | 410173-003 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P150U1 RJ | 2834 | 425.1 | 2408.9
0410173-010 | 410173-010 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RJ | 2719 | 407.85 | 2311.15
0410173-011 | 410173-011 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RJ | 2719 | 407.85 | 2311.15
0410173-012 | 410173-012 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RJ | 3196 | 479.4 | 2716.6
0410173-019 | 410173-019 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P150U1 RJ FSA | 2515 | 377.25 | 2137.75
0410173-020 | 410173-020 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P150U1 RJ FSA | 2515 | 377.25 | 2137.75
0410173-021 | 410173-021 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P150U1 RJ FSA | 2978 | 446.7 | 2531.3
0410173-028 | 410173-028 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RJ FSA | 2869 | 430.35 | 2438.65
0410173-029 | 410173-029 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RJ FSA | 2869 | 430.35 | 2438.65
0410173-030 | 410173-030 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RJ FSA | 3346 | 501.9 | 2844.1
0410173-073 | 410173-073 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RA | 3164 | 474.6 | 2689.4
0410173-074 | 410173-074 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RA | 3164 | 474.6 | 2689.4
0410173-075 | 410173-075 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RA | 3681 | 552.15 | 3128.85
0410173-076 | 410173-076 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RA FSA | 3311 | 496.65 | 2814.35
0410173-077 | 410173-077 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RA FSA | 3311 | 496.65 | 2814.35
0410173-078 | 410173-078 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP150S1 RA FSA | 3827 | 574.05 | 3252.95
0410174-001 | 410174-001 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P200U1-3 RJ | 2761 | 414.15 | 2346.85
0410174-002 | 410174-002 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P200U1-3 RJ | 2761 | 414.15 | 2346.85
0410174-003 | 410174-003 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P200U1-3 RJ | 3210 | 481.5 | 2728.5
0410174-010 | 410174-010 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3 RJ | 3186 | 477.9 | 2708.1
0410174-011 | 410174-011 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3 RJ | 3186 | 477.9 | 2708.1
0410174-012 | 410174-012 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3 RJ | 3651 | 547.65 | 3103.35
0410174-019 | 410174-019 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P200U1-3 RJ FSA | 2900 | 435 | 2465
0410174-020 | 410174-020 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P200U1-3 RJ FSA | 2900 | 435 | 2465
0410174-021 | 410174-021 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | P200U1-3 RJ FSA | 3353 | 502.95 | 2850.05
0410174-028 | 410174-028 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3 RJ FSA | 3332 | 499.8 | 2832.2
0410174-029 | 410174-029 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3 RJ FSA | 3332 | 499.8 | 2832.2
0410174-030 | 410174-030 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3 RJ FSA | 3795 | 569.25 | 3225.75
0410174-049 | 410174-049 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3RA | 3638 | 545.7 | 3092.3
0410174-050 | 410174-050 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3RA | 3638 | 545.7 | 3092.3
0410174-051 | 410174-051 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3RA | 4140 | 621 | 3519
0410174-052 | 410174-052 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3RA FSA | 3782 | 567.3 | 3214.7
0410174-053 | 410174-053 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3RA FSA | 3782 | 567.3 | 3214.7
0410174-054 | 410174-054 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGP200S1-3RA FSA | 4283 | 642.45 | 3640.55
0410174-061 | 410174-061 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | PL200U1-3 RJ | 2512 | 376.8 | 2135.2
0410174-062 | 410174-062 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | PL200U1-3 RJ | 2512 | 376.8 | 2135.2
0410174-063 | 410174-063 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | PL200U1-3 RJ | 2937 | 440.55 | 2496.45
0410174-064 | 410174-064 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RJ | 2914 | 437.1 | 2476.9
0410174-065 | 410174-065 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RJ | 2914 | 437.1 | 2476.9
0410174-066 | 410174-066 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RJ | 3352 | 502.8 | 2849.2
0410174-067 | 410174-067 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | PL200U1-3 RJ FSA | 2644 | 396.6 | 2247.4
0410174-068 | 410174-068 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | PL200U1-3 RJ FSA | 2644 | 396.6 | 2247.4
0410174-069 | 410174-069 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | PL200U1-3 RJ | 3070 | 460.5 | 2609.5
0410174-070 | 410174-070 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RJ FSA | 3052 | 457.8 | 2594.2
0410174-071 | 410174-071 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RJ FSA | 3052 | 457.8 | 2594.2
0410174-072 | 410174-072 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RJ FSA | 3488 | 523.2 | 2964.8
0410174-073 | 410174-073 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RA | 3341 | 501.15 | 2839.85
0410174-074 | 410174-074 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RA | 3341 | 501.15 | 2839.85
0410174-075 | 410174-075 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RA | 3814 | 572.1 | 3241.9
0410174-076 | 410174-076 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RA FSA | 3475 | 521.25 | 2953.75
0410174-077 | 410174-077 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RA FSA | 3475 | 521.25 | 2953.75
0410174-078 | 410174-078 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | AGPL200S1-3 RA FSA | 3947 | 592.05 | 3354.95
0410175-001 | 410175-001 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | X3P150U1 RJ | 2432 | 364.8 | 2067.2
0410175-002 | 410175-002 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | X3P150U1 RJ | 2432 | 364.8 | 2067.2
0410175-003 | 410175-003 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | X3P150U1 RJ | 2895 | 434.25 | 2460.75
0410175-010 | 410175-010 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RJ | 2783 | 417.45 | 2365.55
0410175-011 | 410175-011 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RJ | 2783 | 417.45 | 2365.55
0410175-012 | 410175-012 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RJ | 3257 | 488.55 | 2768.45
0410175-019 | 410175-019 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | X3P150U1 RJ FSA | 2578 | 386.7 | 2191.3
0410175-020 | 410175-020 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | X3P150U1 RJ FSA | 2578 | 386.7 | 2191.3
0410175-021 | 410175-021 | 4in TRJ STP - Fixed Length (Non-Adjustable) Final Assemblies | X3P150U1 RJ FSA | 3036 | 455.4 | 2580.6
0410175-028 | 410175-028 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RJ FSA | 2931 | 439.65 | 2491.35
0410175-029 | 410175-029 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RJ FSA | 2931 | 439.65 | 2491.35
0410175-030 | 410175-030 | 4in TRJ STP AG - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RJ FSA | 3408 | 511.2 | 2896.8
0410175-085 | 410175-085 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RA | 3213 | 481.95 | 2731.05
0410175-086 | 410175-086 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RA | 3213 | 481.95 | 2731.05
0410175-087 | 410175-087 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RA | 3729 | 559.35 | 3169.65
0410175-088 | 410175-088 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RA FSA | 3359 | 503.85 | 2855.15
0410175-089 | 410175-089 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RA FSA | 3359 | 503.85 | 2855.15
0410175-090 | 410175-090 | 4in RA STP - Fixed Length (Non-Adjustable) Final Assemblies | X3AGP150S1 RA FSA | 3875 | 581.25 | 3293.75
0410176-001 | 410176-001 | Fixed Length (Non-Adjustable) Final Assembly | P200U20-2 RJ | 2939 | 440.85 | 2498.15
0410176-002 | 410176-002 | Fixed Length (Non-Adjustable) Final Assembly | P200U20-2 RJ | 2939 | 440.85 | 2498.15
0410176-003 | 410176-003 | Fixed Length (Non-Adjustable) Final Assembly | P200U20-2 RJ | 3564 | 534.6 | 3029.4
0410176-004 | 410176-004 | AG Fixed Length Final Assembly (Non-Adjustable) | AGP200T20-2 RJ | 3105 | 465.75 | 2639.25
0410176-005 | 410176-005 | AG Fixed Length Final Assembly (Non-Adjustable) | AGP200T20-2 RJ | 3105 | 465.75 | 2639.25
0410176-006 | 410176-006 | AG Fixed Length Final Assembly (Non-Adjustable) | AGP200T20-2 RJ | 3733 | 559.95 | 3173.05
0410184-013 | 410184-013 | Petroleum UMP with 2 inch Discharge Head | UMP75U1 w/ 2” DH | 878 | 131.7 | 746.3
0410184-014 | 410184-014 | Petroleum UMP with 2 inch Discharge Head | UMP150U1 w/ 2” DH | 1080 | 162 | 918
0410184-015 | 410184-015 | Petroleum UMP with 2 inch Discharge Head | X3UMP150U1 w/ 2” DH | 1140 | 171 | 969
0410184-016 | 410184-016 | Petroleum UMP with 2 inch Discharge Head | UMP200U1-3 w/ 2” DH | 1155 | 173.25 | 981.75
0410193-001 | 410193-001 | Discharge Head Kit w/ Gasket, AG, 2” |  | 208 | 31.2 | 176.8
0410482-001 | 410482-001 | Kit, Eyebolt Assembly |  | 79 | 11.85 | 67.15
0410482-002 | 410482-002 | RA Eyebolt Plug Kit |  | 75 | 11.25 | 63.75
0410482-002 | 410482-002 | RA Eyebolt Plug Kit |  | 75 | 11.25 | 63.75
0410483-001 | 410483-001 | Siphon Dummy Plug Kit |  | 69 | 10.35 | 58.65
0410483-002 | 410483-002 | RA Siphon Dummy Plug Kit |  | 67 | 10.05 | 56.95
0410483-002 | 410483-002 | RA Siphon Dummy Plug Kit |  | 67 | 10.05 | 56.95
0410484-001 | 410484-001 | Kit, Air Purge Screw Kit |  | 54 | 8.1 | 45.9
0410485-001 | 410485-001 | Die Spring Kit |  | 40 | 6 | 34
0410486-001 | 410486-001 | Kit, Conduit Bushing |  | 58 | 8.7 | 49.3
0410557-001 | 410557-001 | Kit, SpikeCheck, Vented, for use with the Standard STP |  | 2222 | 333.3 | 1888.7
0410557-002 | 410557-002 | Kit, SpikeCheck, Non-vented, for use with the Standard STP |  | 2222 | 333.3 | 1888.7
0410567-001 | 410567-001 | Kit, SpikeCheck O-ring repair kit |  | 84 | 12.6 | 71.4
0410568-001 | 410568-001 | Kit, Vented SpikeCheck repair kit for Std. STP |  | 632 | 94.8 | 537.2
0410569-001 | 410569-001 | Kit, Non-Vented SpikeCheck repair kit for Std. STP |  | 632 | 94.8 | 537.2
0410648-001 | 410648-001 | Magnetic Starter (115 volt coil) - DEF |  | 591 | 88.65 | 502.35
0410648-002 | 410648-002 | Magnetic Starter (240 volt coil) - DEF |  | 591 | 88.65 | 502.35
0410648-003 | 410648-003 | Magnetic Starter (575 volt coil) - DEF |  | 591 | 88.65 | 502.35
0410649-003 | 410649-003 | Heater | C526A | 62 | 9.3 | 52.7
0410649-004 | 410649-004 | Heater | C778A | 62 | 9.3 | 52.7
0410649-006 | 410649-006 | Heater | C113B | 62 | 9.3 | 52.7
0410649-008 | 410649-008 | Heater | C180B | 62 | 9.3 | 52.7
0410649-009 | 410649-009 | Heater | C695A | 62 | 9.3 | 52.7
0410649-009 | 410649-009 | Heater | C695A | 62 | 9.3 | 52.7
0410649-010 | 410649-010 | Heater | C867A | 62 | 9.3 | 52.7
0410649-011 | 410649-011 | Heater | C137B | 62 | 9.3 | 52.7
0410718-001 | 410718-001 | UMP Replacements - 6 inch | UMP300J4-2HB | 5510 | 826.5 | 4683.5
0410718-003 | 410718-003 | UMP Replacements - 6 inch | UMP500J4-2K | 5657 | 848.55 | 4808.45
0410718-004 | 410718-004 | UMP Replacements - 6 inch | UMP500J6-2K | 6225 | 933.75 | 5291.25
0410747-001 | 410747-001 | Ultem Adaptor (adaptor sanitary 3.0") |  | 228 | 34.2 | 193.8
0410749-001 | 410749-001 | Clamp & EPDM Gasket Kit |  | 197 | 29.55 | 167.45
0410750-001 | 410750-001 | DEF Pump Kit - 8' Tank | RJ DEF 640 Pump Kit - 8' Tank | 15333 | 2299.95 | 13033.05
0410750-002 | 410750-002 | DEF Pump Kit - 10' Tank | RJ DEF 640 Pump Kit - 10' Tank | 15931 | 2389.65 | 13541.35
0410750-901 | 410750-901 | Replacement Pump Kit 8' DEF Centrifugal Immer. |  | 8697 | 1304.55 | 7392.45
0410750-902 | 410750-902 | Replacement Pump Kit 10' DEF Centrifugal Immer. |  | 9295 | 1394.25 | 7900.75
0410751-002 | 410751-002 | 5/8” Pump Mtg Kit |  | 245 | 36.75 | 208.25
0410756-001 | 410756-001 | DEF Manifold Kit | RJ DEF 640 Manifold Kit |  | 0 | 0
0410756-901 | 410756-901 | Replacement Manifold |  | 3601 | 540.15 | 3060.85
0410757-001 | 410757-001 | DEF Manifold Kit - 60 Hz (208/230) | RJ DEF 640 Motor Kit 60 Hz |  | 0 | 0
0410757-002 | 410757-002 | DEF Manifold Kit - 60 Hz (575) | RJ DEF 640 Motor Kit 60 Hz |  | 0 | 0
0410757-901 | 410757-901 | Replacement Motor-5HP-XPFC-208/230V/460V DEF |  | 3036 | 455.4 | 2580.6
0410757-902 | 410757-902 | Replacement Motor-5HP-XPFC-575V |  | 3036 | 455.4 | 2580.6
0410758-001 | 410758-001 | Check Valve Kit |  | 144 | 21.6 | 122.4
0410759-001 | 410759-001 | Pressure Relief Valve Kit |  | 180 | 27 | 153
0410760-001 | 410760-001 | Pump Discharge/Return O-Ring Kit |  | 537 | 80.55 | 456.45
0410763-001 | 410763-001 | Maxxum Fixed Length Final Assemblies - Up to 9’11” | MXP300J4-2HB | 9513 | 1426.95 | 8086.05
0410763-001 | 410763-001 | Maxxum Fixed Length Final Assemblies - 10' - 14' | MXP300J4-2HB | 9716 | 1457.4 | 8258.6
0410763-001 | 410763-001 | Maxxum Fixed Length Final Assemblies - 14'1" - 20' | MXP300J4-2HB | 10341 | 1551.15 | 8789.85
0410763-003 | 410763-003 | Maxxum Fixed Length Final Assemblies - Up to 9’11” | MXP500J4-2K | 9937 | 1490.55 | 8446.45
0410763-003 | 410763-003 | Maxxum Fixed Length Final Assemblies - 10' - 14' | MXP500J4-2K | 10146 | 1521.9 | 8624.1
0410763-003 | 410763-003 | Maxxum Fixed Length Final Assemblies - 14'1" - 20' | MXP500J4-2K | 10765 | 1614.75 | 9150.25
0410763-004 | 410763-004 | Maxxum Fixed Length Final Assemblies - Up to 9’11” | MXP500J6-2K | 9937 | 1490.55 | 8446.45
0410763-004 | 410763-004 | Maxxum Fixed Length Final Assemblies - 10' - 14' | MXP500J6-2K | 10146 | 1521.9 | 8624.1
0410763-004 | 410763-004 | Maxxum Fixed Length Final Assemblies - 14'1" - 20' | MXP500J6-2K | 10765 | 1614.75 | 9150.25
0410763-006 | 410763-006 | Maxxum Fixed Length Final Assemblies - Up to 9’11” | MXP300J4-2HB w/Siphon | 9799 | 1469.85 | 8329.15
0410763-006 | 410763-006 | Maxxum Fixed Length Final Assemblies - 10' - 14' | MXP300J4-2HB w/Siphon | 10006 | 1500.9 | 8505.1
0410763-006 | 410763-006 | Maxxum Fixed Length Final Assemblies - 14'1" - 20' | MXP300J4-2HB w/Siphon | 10630 | 1594.5 | 9035.5
0410763-008 | 410763-008 | Maxxum Fixed Length Final Assemblies - Up to 9’11” | MXP500J4-2K w/Siphon | 10227 | 1534.05 | 8692.95
0410763-008 | 410763-008 | Maxxum Fixed Length Final Assemblies - 10' - 14' | MXP500J4-2K w/Siphon | 10434 | 1565.1 | 8868.9
0410763-008 | 410763-008 | Maxxum Fixed Length Final Assemblies - 14'1" - 20' | MXP500J4-2K w/Siphon | 11059 | 1658.85 | 9400.15
0410763-009 | 410763-009 | Maxxum Fixed Length Final Assemblies - Up to 9’11” | MXP500J6-2K w/Siphon | 10227 | 1534.05 | 8692.95
0410763-009 | 410763-009 | Maxxum Fixed Length Final Assemblies - 10' - 14' | MXP500J6-2K w/Siphon | 10434 | 1565.1 | 8868.9
0410763-009 | 410763-009 | Maxxum Fixed Length Final Assemblies - 14'1" - 20' | MXP500J6-2K w/Siphon | 11059 | 1658.85 | 9400.15
0410773-001 | 410773-001 | Pump Circlip and Cover Kit |  | 715 | 107.25 | 607.75
0410774-001 | 410645-002 | Pigtail only, 20 feet, 6.1m, 5 wire, 5hp (12 GA) (Does not contain conduit seal assembly) |  | 600 | 90 | 510
0410774-001 | 410774-001 | Pigtail Kit, 16 feet, 4.9 m, 5 wire (Plug & Lead) |  | 600 | 90 | 510
0410779-001 | 410779-001 | Riser Flange, 6" diameter, 12" ** |  | 1543 | 231.45 | 1311.55
0410779-002 | 410779-002 | Riser Flange, 6" diameter, 22" ** |  | 1543 | 231.45 | 1311.55
0410818-001 | 410818-001 | Flex Siphon/UMP, AG RJ/AG RJ FL |  | 37 | 5.55 | 31.45
0410829-075 | 410829-075 | Riser, 4” diameter, Stainless Steel, 7.5” * |  | 203 | 30.45 | 172.55
0410829-085 | 410829-085 | Riser, 4” diameter, Stainless Steel, 8.5” (10-Day Leadtime) |  | 203 | 30.45 | 172.55
0410829-105 | 410829-105 | Riser, 4” diameter, Stainless Steel, 10.5” * |  | 203 | 30.45 | 172.55
0410829-125 | 410829-125 | Riser, 4” diameter, Stainless Steel, 12.5” * |  | 203 | 30.45 | 172.55
0410829-155 | 410829-155 | Riser, 4” diameter, Stainless Steel, 15.5” * |  | 203 | 30.45 | 172.55
0410829-185 | 410829-185 | Riser, 4” diameter, Stainless Steel, 18.5” (10-Day Leadtime) |  | 358 | 53.7 | 304.3
0410829-195 | 410829-195 | Riser, 4” diameter, Stainless Steel, 19.5” * |  | 244 | 36.6 | 207.4
0410829-245 | 410829-245 | Riser, 4” diameter, Stainless Steel, 24.5” (10-Day Leadtime) |  | 358 | 53.7 | 304.3
0410829-275 | 410829-275 | Riser, 4” diameter, Stainless Steel, 27.5” * |  | 377 | 56.55 | 320.45
0410829-360 | 410829-360 | Riser, 4” diameter, Stainless Steel, 36.” (Contact Customer Service for lead time) |  | 468 | 70.2 | 397.8
0410852-001 | 410852-001 | CoreDef UMP | DP75U1 | 1814 | 272.1 | 1541.9
0410852-003 | 410852-003 | CoreDef UMP | DP200U1 | 2102 | 315.3 | 1786.7
0410852-005 | 410852-005 | CoreDef UMP | DP200U4 | 2210 | 331.5 | 1878.5
0410861-001 | 410861-001 | Control Box with Capacitor with 115 VAC Coil for 2 HP Motors |  | 462 | 69.3 | 392.7
0410870-001 | 410870-001 | CoreDEF Final Assemblies with Fixed Pressure Relief Valve | DP75U1 D1 w/FPRV | 3028 | 454.2 | 2573.8
0410870-002 | 410870-002 | CoreDEF Final Assemblies with Fixed Pressure Relief Valve | DP75U1 D2 w/FPRV | 3028 | 454.2 | 2573.8
0410870-005 | 410870-005 | CoreDEF Final Assemblies without Fixed Pressure Relief Valve | DP75U1 D1 | 3028 | 454.2 | 2573.8
0410870-006 | 410870-006 | CoreDEF Final Assemblies without Fixed Pressure Relief Valve | DP75U1 D2 | 3028 | 454.2 | 2573.8
0410870-009 | 410870-009 | CoreDEF Final Assemblies with Fixed Pressure Relief Valve | DP200U1 D1 w/FPRV | 3441 | 516.15 | 2924.85
0410870-010 | 410870-010 | CoreDEF Final Assemblies with Fixed Pressure Relief Valve | DP200U1 D2 w/FPRV | 3441 | 516.15 | 2924.85
0410870-013 | 410870-013 | CoreDEF Final Assemblies without Fixed Pressure Relief Valve | DP200U1 D1 | 3441 | 516.15 | 2924.85
0410870-014 | 410870-014 | CoreDEF Final Assemblies without Fixed Pressure Relief Valve | DP200U1 D2 | 3441 | 516.15 | 2924.85
0410870-017 | 410870-017 | CoreDEF Final Assemblies with Fixed Pressure Relief Valve | DP200U4 D1 w/FPRV | 3585 | 537.75 | 3047.25
0410870-018 | 410870-018 | CoreDEF Final Assemblies with Fixed Pressure Relief Valve | DP200U4 D2 w/FPRV | 3585 | 537.75 | 3047.25
0410870-019 | 410870-019 | CoreDEF Final Assemblies without Fixed Pressure Relief Valve | DP200U4 D1 | 3585 | 537.75 | 3047.25
0410870-020 | 410870-020 | CoreDEF Final Assemblies without Fixed Pressure Relief Valve | DP200U4 D2 | 3585 | 537.75 | 3047.25
0410874-001 | 410874-001 | SS tube and fittings for the FXV leak detector |  | 169 | 25.35 | 143.65
0410874-001 | 410874-001 | SS tube and fittings for the FXV leak detector |  | 169 | 25.35 | 143.65
0410875-001 | 410875-001 | Check Valve Kit (Recommended with use of Adjustable Pressure Relief Kit) |  | 71 | 10.65 | 60.35
0410878-001 | 410878-001 | 1 1/4" Adapter Kit - NPT to BSPP |  | 110 | 16.5 | 93.5
0410879-001 | 410879-001 | 2" Adapter Kit - NPT to BSPP |  | 144 | 21.6 | 122.4
0410880-001 | 410880-001 | Pressure Gauge Kit |  | 220 | 33 | 187
0410881-001 | 410881-001 | Adjustable Pressure Relief Kit (w/1” NPT inlet/outlet valve)* (required for line pressure control) |  | 1324 | 198.6 | 1125.4
0410882-001 | 410882-001 | Replacement 1/2" Pressure Relief Kit |  | 248 | 37.2 | 210.8
0410883-001 | 410883-001 | Replacement 1 1/4" Pressure Relief Kit |  | 468 | 70.2 | 397.8
0410886-001 | 410886-001 | Cable Repair Kit |  | 138 | 20.7 | 117.3
0410905-001 | 410905-001 | RA Conduit Box Plug Kit |  | 92 | 13.8 | 78.2
0410905-001 | 410905-001 | RA Conduit Box Plug Kit |  | 92 | 13.8 | 78.2
0410906-001 | 410906-001 | RA Die Spring Kit |  | 67 | 10.05 | 56.95
0410906-001 | 410906-001 | RA Die Spring Kit |  | 67 | 10.05 | 56.95
0410911-001 | 410911-001 | Protective Cap Kit for Red Armor (1/ea. Included with every RA pump) |  | 153 | 22.95 | 130.05
0410911-001 | 410911-001 | Protective Cap Kit for Red Armor (1/ea. Included with every RA pump) |  | 153 | 22.95 | 130.05
0410912-001 | 410912-001 | Manifold Installation Tool |  | 135 | 20.25 | 114.75
0410912-001 | 410912-001 | Manifold Installation Tool |  | 135 | 20.25 | 114.75
0410913-001 | 410913-001 | Red Armor Touch-Up Paint (w/applicator), 1 ounce * |  | 22 | 3.3 | 18.7
0410913-001 | 410913-001 | Red Armor Touch-Up Paint (w/applicator), 1 ounce * |  | 22 | 3.3 | 18.7
0410925-001 | 410925-001 | Petroleum UMP | UMPL200U1-3 | 975 | 146.25 | 828.75
0410925-002 | 410925-002 | Petroleum UMP with 2 inch Floating Suction Adapter | UMPL200U1-3 w/ FSA | 1073 | 160.95 | 912.05
0410926-001 | 410926-001 | Alcohol Gas UMP | AGUMPL200U1-3 | 1218 | 182.7 | 1035.3
0410926-002 | 410926-002 | Alcohol Gas UMP with 2 inch Floating Suction Adapter | AGUMPL200U1-3 w/ FSA | 1312 | 196.8 | 1115.2
0579151-001 | 579151-001 | Gauge - Pressure, Liquid filled |  | 395 | 59.25 | 335.75
0579172-001 | 579172-001 | 3”Tri-Clamp x 1-1/2” FNPT Adapter |  | 686 | 102.9 | 583.1
0579172-002 | 579172-002 | 3”Tri-Clamp x 2” FNPT Adapter |  | 646 | 96.9 | 549.1
0579173-001 | 579173-001 | 3”Tri-Clamp x 1-1/2” MNPT Adapter |  | 686 | 102.9 | 583.1
0579173-002 | 579173-002 | 3”Tri-Clamp x 2” MNPT Adapter (1 unit supplied with manifold kit) |  | 393 | 58.95 | 334.05
0579176-001 | 579176-001 | O-Ring 1.85 ID x .210W Fluorocarbon -328 |  | 180 | 27 | 153
0579181-001 | 579181-001 | Circlip - Pump DEF |  | 348 | 52.2 | 295.8
0579182-001 | 579182-001 | Cover - Pump DEF |  | 391 | 58.65 | 332.35
0579194-001 | 579194-001 | Tester-Phase Sequence |  | 293 | 43.95 | 249.05
0856194-001 | 856194-001 | VSFC Kit Controller Only |  | 2154 | 323.1 | 1830.9
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals up to 11’11” | P33R1 | 1709 | 256.35 | 1452.65
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals from 12’ to 14’ | P33R1 | 1821 | 273.15 | 1547.85
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals from 14’ 1” to 20’ | P33R1 | 2242 | 336.3 | 1905.7
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals up to 11’11” | P75S1 | 2339 | 350.85 | 1988.15
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals from 12’ to 14’ | P75S1 | 2475 | 371.25 | 2103.75
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals from 14’ 1” to 20’ | P75S1 | 3002 | 450.3 | 2551.7
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals up to 11’11” | P150S1 | 2991 | 448.65 | 2542.35
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals from 12’ to 14’ | P150S1 | 3124 | 468.6 | 2655.4
Varies | Varies | 4in - Standard STP - Fixed Length Final Assemblies - Finals from 14’ 1” to 20’ | P150S1 | 3616 | 542.4 | 3073.6